## Parameters
Input - Parameter |  |  |  | Resultate
|  | Einheiten |  |  |  | Einheit
Case - Option | Base Case |  |  | NPV | -2314321.1934 | EUR
|  |  |  | NPV costs | -8944655.5639 | EUR
Number of WT | 6 | Stück |  | NPV kWh | 572236283.5975 | EUR
Installed output (Per WT) | 2100 | kWp |  | IRR | #NUM!
Total output | 12600 | kWp |  | LEC | 0.034258 | EUR
Gross energy yield | 39026700 | kWh/a |  | Min. DSCR | 0.078636
Cable and transformer losses | 2.2% |  |  | ADSCR | 0.80729
Bat losses | 0%
Collateral (Damage) | 0%
Total losses | 2.2%
Net energy yield | 38168112.6 | kWh
Site quality | 71.04% |  |  | GuV
Term Initial tariff | 22 | a
Feed-in tariff (start) | 0.034 | EUR/kWh | 3 Rs/kwh |  | Einheiten |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
|  |  |  | Income | EUR (nominal) |  | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284
|  |  |  | Operating costs | EUR (nominal) |  | -552215.6879 | -577153.0606 | -603636.5504 | -481762.0165 | -511631.2615 | -543352.3997 | -577040.2485 | -612816.7439 | -650811.382 | -691161.6877 | -734013.7123 | -779522.5625 | -827852.9614 | -879179.845 | -933688.9954 | -991577.7131 | -1053055.5313 | -1118344.9742 | -1187682.3627 | -1261318.6691
|  |  |  | EBITDA | EUR (nominal) |  | 745500.1405 | 720562.7678 | 694079.278 | 815953.8119 | 786084.5669 | 754363.4287 | 720675.5799 | 684899.0845 | 646904.4464 | 606554.1407 | 563702.1161 | 518193.2659 | 469862.867 | 418535.9834 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Investment |  |  |  | Depreciation and amortization | EUR (nominal) |  | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
Total investment costs |  | EUR |  | EBIT | EUR (nominal) |  | -15840.6453 | -40778.0179 | -67261.5077 | 54613.0262 | 24743.7812 | -6977.357 | -40665.2058 | -76441.7012 | -114436.3393 | -154786.645 | -197638.6697 | -243147.5198 | -291477.9187 | -342804.8023 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
| -10658771 |  |  | Net financial income | EUR (nominal) |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
Total operating costs | -378734.1694 | EUR |  | EBT | EUR (nominal) |  | -248407.9719 | -273345.3446 | -299828.8343 | -171114.085 | -187302.899 | -205343.6062 | -225351.024 | -247447.0885 | -271761.2956 | -298431.1703 | -327602.764 | -359431.1832 | -394081.1511 | -431727.6037 | 288784.4626 | 244576.1759 | 196778.7887 | 145169.7767 | 89512.8193 | 29556.9438
|  |  |  | Taxes | EUR (nominal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Profit after tax | EUR (nominal) |  | -248407.9719 | -273345.3446 | -299828.8343 | -171114.085 | -187302.899 | -205343.6062 | -225351.024 | -247447.0885 | -271761.2956 | -298431.1703 | -327602.764 | -359431.1832 | -394081.1511 | -431727.6037 | 288784.4626 | 244576.1759 | 196778.7887 | 145169.7767 | 89512.8193 | 29556.9438
Finanzierung (
Loan type | Constant Payment
Debt ratio | 72.73%
Equity | 2906526.7777 | EUR |  | Cash-Flow
Term | 17 | Jahre
Interest Bank | 2% |  |  |  | Einheit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Refinancing | 1%
Interest rate | 3% |  |  | Income | EUR (nominal) |  | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284
Debt capital | 7752244.2223 |  |  | Operating costs | EUR |  | -552215.6879 | -577153.0606 | -603636.5504 | -481762.0165 | -511631.2615 | -543352.3997 | -577040.2485 | -612816.7439 | -650811.382 | -691161.6877 | -734013.7123 | -779522.5625 | -827852.9614 | -879179.845 | -933688.9954 | -991577.7131 | -1053055.5313 | -1118344.9742 | -1187682.3627 | -1261318.6691
Loss carry forward | Yes |  |  | Trade tax | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Risk free rate | 1.15% |  |  | CFADS | EUR |  | 745500.1405 | 720562.7678 | 694079.278 | 815953.8119 | 786084.5669 | 754363.4287 | 720675.5799 | 684899.0845 | 646904.4464 | 606554.1407 | 563702.1161 | 518193.2659 | 469862.867 | 418535.9834 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Market risk premium | 5.15% |  |  | interest | EUR |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
beta | 0.3 |  |  | Repayment | EUR |  | 0 | 0 | 0 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366
Cost of equity | 2.695% |  |  | CFASH | EUR |  | 512932.8138 | 487995.4411 | 461511.9514 | 134212.3347 | 118023.5207 | 99982.8135 | 79975.3957 | 57879.3312 | 33565.1241 | 6895.2494 | -22276.3443 | -54104.7635 | -88754.7314 | -126401.184 | -167229.9034 | -211438.1901 | -259235.5774 | -310844.5893 | -366501.5467 | -426457.4222
WACC w/ tax | 2.917%
Other
Depreciation period | 14 | Jahre
Inflation | 6.2%
Discount rate | 2.917%
Project duration | 25 | Jahre
Constant Payment
Annuity
Business tax
tax-free amount | 24500 | €
Tax base | 3.5%
Nentzelsrode share | 70%
Share of municipality of management | 30%
Municipality of location | 357% | IHK Erfurt
Municipality of the management | 470% | IHK Hamburg
Base case | 38168112.6
Base case without security | 38168112.6
Note on C42: Dennis Schneck: http://www.bloomberg.com/markets/rates-bonds/government-bonds/germany/
Note on C43: Dennis Schneck: http://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html

## Kalkulation
Kalkulation |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Einheit
Periode |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Jahr |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Inflation |  | 1 | 1.062 | 1.1278 | 1.1978 | 1.272 | 1.3509 | 1.4347 | 1.5236 | 1.6181 | 1.7184 | 1.8249 | 1.9381 | 2.0582 | 2.1858 | 2.3214 | 2.4653 | 2.6181 | 2.7805 | 2.9528 | 3.1359 | 3.3304
Erträge
Energie | kWh |  | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6
Einspeisevergütung (Fix für 20 Jahre) | EUR/kWh |  | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034 | 0.034
Total | EUR |  | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 1297715.8284 | 25954316.568
Ausgaben
Investment | EUR | 0 2015: -10658771
Betriebskosten | EUR (nominal) |  | -402215.6879 | -427153.0606 | -453636.5504 | -481762.0165 | -511631.2615 | -543352.3997 | -577040.2485 | -612816.7439 | -650811.382 | -691161.6877 | -734013.7123 | -779522.5625 | -827852.9614 | -879179.845 | -933688.9954 | -991577.7131 | -1053055.5313 | -1118344.9742 | -1187682.3627 | -1261318.6691
Ausschüttung REC | EUR | 1 2016: -150000; 2 2017: -150000; 3 2018: -150000
Total | EUR (nominal) | -10658771 | -552215.6879 | -577153.0606 | -603636.5504 | -481762.0165 | -511631.2615 | -543352.3997 | -577040.2485 | -612816.7439 | -650811.382 | -691161.6877 | -734013.7123 | -779522.5625 | -827852.9614 | -879179.845 | -933688.9954 | -991577.7131 | -1053055.5313 | -1118344.9742 | -1187682.3627 | -1261318.6691
EBITDA | EUR | -10658771 | 745500.1405 | 720562.7678 | 694079.278 | 815953.8119 | 786084.5669 | 754363.4287 | 720675.5799 | 684899.0845 | 646904.4464 | 606554.1407 | 563702.1161 | 518193.2659 | 469862.867 | 418535.9834 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Abschreibung | EUR | 0 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EUR | -10658771 | -15840.6453 | -40778.0179 | -67261.5077 | 54613.0262 | 24743.7812 | -6977.357 | -40665.2058 | -76441.7012 | -114436.3393 | -154786.645 | -197638.6697 | -243147.5198 | -291477.9187 | -342804.8023 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Steuer | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CFADS | EUR | -10658771 | 745500.1405 | 720562.7678 | 694079.278 | 815953.8119 | 786084.5669 | 754363.4287 | 720675.5799 | 684899.0845 | 646904.4464 | 606554.1407 | 563702.1161 | 518193.2659 | 469862.867 | 418535.9834 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Income Statement
EBITAD | EUR |  | 745500.1405 | 720562.7678 | 694079.278 | 815953.8119 | 786084.5669 | 754363.4287 | 720675.5799 | 684899.0845 | 646904.4464 | 606554.1407 | 563702.1161 | 518193.2659 | 469862.867 | 418535.9834 | 364026.833 | 306138.1153 | 244660.2971 | 179370.8542 | 110033.4657 | 36397.1593
Zinsen | EUR |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
Abschreibung | EUR |  | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
PBT | EUR |  | -248407.9719 | -273345.3446 | -299828.8343 | -171114.085 | -187302.899 | -205343.6062 | -225351.024 | -247447.0885 | -271761.2956 | -298431.1703 | -327602.764 | -359431.1832 | -394081.1511 | -431727.6037 | 288784.4626 | 244576.1759 | 196778.7887 | 145169.7767 | 89512.8193 | 29556.9438
loss carry forward | EUR |  | 0 | -248407.9719 | -521753.3165 | -821582.1508 | -992696.2358 | -1179999.1348 | -1385342.7411 | -1610693.7651 | -1858140.8536 | -2129902.1492 | -2428333.3195 | -2755936.0835 | -3115367.2666 | -3509448.4177 | -3941176.0214 | -3652391.5588 | -3407815.3829 | -3211036.5942 | -3065866.8175 | -2976353.9982
taxable income | EUR |  | -248407.9719 | -521753.3165 | -821582.1508 | -992696.2358 | -1179999.1348 | -1385342.7411 | -1610693.7651 | -1858140.8536 | -2129902.1492 | -2428333.3195 | -2755936.0835 | -3115367.2666 | -3509448.4177 | -3941176.0214 | -3652391.5588 | -3407815.3829 | -3211036.5942 | -3065866.8175 | -2976353.9982 | -2946797.0544
Steuern
Versteuerbares Einkommen nach Freibetrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Anteil Nentzelsrode (70 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gewerbesteuer Nentzelsrode | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Anteil Hamburg (30 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gewerbesteuer Hamburg | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gewerbesteuer Gesamt | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constant Payment
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7296229.8563 | 6840215.4902 | 6384201.1242 | 5928186.7582 | 5472172.3922 | 5016158.0262 | 4560143.6602 | 4104129.2941 | 3648114.9281 | 3192100.5621 | 2736086.1961 | 2280071.8301 | 1824057.4641 | 1368043.098 | 912028.732 | 456014.366
Repayment | EUR |  | 0 | 0 | 0 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 225727.1112 | 212046.6802 | 198366.2492 | 184685.8182 | 171005.3873 | 157324.9563 | 143644.5253 | 129964.0943 | 116283.6633 | 102603.2324 | 88922.8014 | 75242.3704 | 61561.9394 | 47881.5084 | 34201.0775 | 20520.6465 | 6840.2155
Debt Service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 681741.4772 | 668061.0462 | 654380.6152 | 640700.1843 | 627019.7533 | 613339.3223 | 599658.8913 | 585978.4603 | 572298.0294 | 558617.5984 | 544937.1674 | 531256.7364 | 517576.3054 | 503895.8744 | 490215.4435 | 476535.0125 | 462854.5815
Constant Payment
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7296229.8563 | 6840215.4902 | 6384201.1242 | 5928186.7582 | 5472172.3922 | 5016158.0262 | 4560143.6602 | 4104129.2941 | 3648114.9281 | 3192100.5621 | 2736086.1961 | 2280071.8301 | 1824057.4641 | 1368043.098 | 912028.732 | 456014.366
Repayment | EUR |  |  |  |  | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 225727.1112 | 212046.6802 | 198366.2492 | 184685.8182 | 171005.3873 | 157324.9563 | 143644.5253 | 129964.0943 | 116283.6633 | 102603.2324 | 88922.8014 | 75242.3704 | 61561.9394 | 47881.5084 | 34201.0775 | 20520.6465 | 6840.2155
Debt Service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 681741.4772 | 668061.0462 | 654380.6152 | 640700.1843 | 627019.7533 | 613339.3223 | 599658.8913 | 585978.4603 | 572298.0294 | 558617.5984 | 544937.1674 | 531256.7364 | 517576.3054 | 503895.8744 | 490215.4435 | 476535.0125 | 462854.5815 | -20231.5561
Annuity
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7396008.9919 | 7029086.7047 | 6651156.7488 | 6261888.8942 | 5860943.004 | 5447968.7371 | 5022605.2422 | 4584480.8425 | 4133212.7107 | 3668406.535 | 3189656.174 | 2696543.3022 | 2188637.0443 | 1665493.5986 | 1126655.8495 | 571652.968
Repayment | EUR |  |  |  |  | 356235.2304 | 366922.2873 | 377929.9559 | 389267.8546 | 400945.8902 | 412974.2669 | 425363.4949 | 438124.3998 | 451268.1317 | 464806.1757 | 478750.361 | 493112.8718 | 507906.258 | 523143.4457 | 538837.7491 | 555002.8815 | 571652.968
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 232567.3267 | 221880.2698 | 210872.6011 | 199534.7025 | 187856.6668 | 175828.2901 | 163439.0621 | 150678.1573 | 137534.4253 | 123996.3813 | 110052.1961 | 95689.6852 | 80896.2991 | 65659.1113 | 49964.808 | 33799.6755 | 17149.589
Debt service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 66126.8552
Cash Flow after debt service | EUR | -2906526.7777 | 512932.8138 | 487995.4411 | 461511.9514 | 134212.3347 | 118023.5207 | 99982.8135 | 79975.3957 | 57879.3312 | 33565.1241 | 6895.2494 | -22276.3443 | -54104.7635 | -88754.7314 | -126401.184 | -167229.9034 | -211438.1901 | -259235.5774 | -310844.5893 | -366501.5467 | -426457.4222
Cash Flow Genossenschaft |  |  | 512932.8138 | 487995.4411 | 461511.9514 | 134212.3347 | 118023.5207 | 99982.8135 | 79975.3957 | 57879.3312 | 33565.1241 | 6895.2494 | -22276.3443 | -54104.7635 | -88754.7314 | -126401.184 | -167229.9034 | -211438.1901 | -259235.5774 | -310844.5893 | -366501.5467 | -426457.4222
DSCR |  |  | 3.2055 | 3.0983 | 2.9844 | 1.1969 | 1.1767 | 1.1528 | 1.1248 | 1.0923 | 1.0547 | 1.0115 | 0.96198 | 0.90546 | 0.84112 | 0.76804 | 0.68522 | 0.59148 | 0.48554 | 0.3659 | 0.2309 | 0.078636
ADSCR |  | 0 2015: 0.80729
Betriebskosten für Grafik |  |  | 552215.6879 | 577153.0606 | 603636.5504 | 481762.0165 | 511631.2615 | 543352.3997 | 577040.2485 | 612816.7439 | 650811.382 | 691161.6877 | 734013.7123 | 779522.5625 | 827852.9614 | 879179.845 | 933688.9954 | 991577.7131 | 1053055.5313 | 1118344.9742 | 1187682.3627 | 1261318.6691

## Daten
Input
Project / Plant
Nentzelsrode project
Type of company Operator | GmbH
Type of plant | Suzlon S97 2100KW |  |  |  | Gross energy yield | kWh/a | 39924500
Number of plants (WT) |  | 6
Installed capacity | MW | 2.1 |  |  | Discount for line & transformer losses |  | 2.2%
Commissioning |  | 2025-01-01 |  |  | Safety discount |  | 0%
Price per plant | € | 1470000
Reference yield per WT | kWh | 6598300 |  |  | Net energy yield | kWh/a | 39046161
Remuneration
Reference energy yield | kWh | 39589800
Energy yield | kWh/a | 39046161
Energy yield | kWh/5a | 195230805
Site quality |  | 493.1%
Term Initial remuneration | a | -71.252
Degression |  | 1.5% |  |  | Einnahmen Grundvergütung | €/a | 1764886.4772
SDL bonus | €cent/kWh | 0 |  |  | Einnahmen Anfangsvergütung | €/a | 3233022.1308
Repowering bonus | €cent/kWh | 0
Initial remuneration | €cent/kWh | 8.28
Initial tariff incl. bonuses | €cent/kWh | 8.28
Basic remuneration | €cent/kWh | 4.52
investment
Berechnung
WTG, incl. transformer, transportation, assembly, foundation | € | 8820000
|  |  |  | Anzahl | Einzelpreis
Foundation | € | 231000 |  | 6 | 38500 | € /WEA
Road construction | € | 0 |  | 0 | 26950 | €/km
Easement for road construction | € | 0 |  | 0 | 2888 | €/Flurstück
Internal and external cabling | € | 199974 |  | 6 | 33329 | €/km | 200 Rs
Cabling land use | € | 798 |  | 7 | 114 | €/Flurstück
Cabling land use | € | 867000 |  | 3000 | 289 | €/Meter
Rotor painting | € | 750 |  | 1 | 750 | €/Stck.
Transfer station | € | 38500 |  | 1 | 38500 | €/Stck.
Grid connection | € | 770 |  | 1 | 770 | € /Anschluß
Wind expertise | € | 46200 |  | 1 | 46200 | €/Stck.
Noise survey | € | 5775 |  | 1 | 5775 | €/Stck.
Soil expertise | € | 7700 |  | 1 | 7700 | €/Stck.
Faunistic expertise | € | 9625 |  | 1 | 9625 | €/Stck.
Hamster relocation | € | 1926 |  | 2 | 963 | €/Stck.
Hamster compensation areas | € | 1078 |  | 2 | 539 | €/Stck.
Acceptance report | € | 7700 |  | 1 | 7700 | €/Stck.
Notary and legal costs | € | 19250 |  | 1 | 19250 | €/Stck.
SDL expert opinion | € | 3850 |  | 1 | 3850 | €/Stck.
Project planning | € | 60000
Building permit | € | 9625 |  | 1 | 9625 | €/Stck.
Compensatory measures | € | 57750 |  | 5 | 11550 | €/WEA
Other costs | € | 38500
Pre-financing
Bank structuring fee | € | 115500
Guarantee commission | €
Reserve | € | 115500
Total purchase price | € | 10658771
Specific purchase price | €/kWh | 0.27298
Depreciable investment costs | € | 10658771
Financing
Equity share | 27.27% | € | 2906646.8517
Debt capital share | 72.73% | € | 7752124.1483
KfW Program 270 Renewable Energies - “Standard” program section
Amount | € | 7752124.1483
Term | a | 14
Interest Bank |  | 3%
Refinancing |  | 2.5%
Repayment-free years | a | 3
Disbursement date |  | 2015-01-01
Operating costs
Maintenance (full maintenance contract) | €/a | 159881.565 |  |  | 0.015 | vom Investment
Lease costs | €/a | 69300 |  |  | 5500 | €/MW
Annual financial statements, tax advice | €/a | 9900 |  |  | 1650 | €/WEA
insurance | €/a | 82500 |  |  | 13750 | €/WEA | Bauherren-, Betreiberhaftpflicht; Maschinen-, MBU-Versicherung
Operational management | €/a | 12000
Dismantling guarantee Reserves | €/a | 16500 |  |  |  | Ziel 600.000€ nach 20 Jahren 15MW x 40.000 €
Own consumption | €/a | 9900 |  |  | 1650 | €/WEA
Hamster
Yield loss farmer (0.4 ha)Wheat | €/a | 156.7724 |  | 0.4 | 4.026 | t/ha | Weizenpreis | 97.35 | €/t
Yield loss farmer (0.4 ha) Barley | €/a | 95.832 |  | 0.4 | 3.025 | t/ha | Gerstepreis | 79.2 | €/t
Hamster Observation | €/a | 2000
Miscellaneous | €/a | 16500 |  |  | 2750 | €/WEA
Operating costs |  | 378734.1694 | Euro
taxes
Trade tax
tax-free amount | € | 24500
Tax rate |  | 3.5%
Share of Nentzelsrode |  | 70%
Share of management in Gujarat |  | 30%
Rate of assessment Nentzelsrode |  | 357%
Rate of assessment of the management in Gujarat |  | 270%

## Grafiken
|  |  | Eigenkapital | 27.27%
|  |  | Fremdkapital | 72.73%
Spalte1 | Spalte2 | Spalte3
WEA, inkl. Trafo, Transport, Montage, Fundament | € | 24000000
Stellflächen | € | 500000
Wegebau | € | 140000
Verkabelung Intern und Extern | € | 526200
Übergabestion | € | 100000
Windgutachten | € | 120000
Schallgutachten | € | 15000
Bodengutachten | € | 20000
Notar und Rechtskosten | € | 50000
Projektierung | € | 300000
Baugenehmigung | € | 25000
Abnahmegutachten | € | 20000
Faunistisches Gutachten | € | 25000
Umsiedelung Hamster | € | 5000
Ausgleichsflächen Hamster | € | 2800
Sonstige Kosten( Ausgleichsmaßnahmen, Dienstbarkeiten usw.) | € | 929350
Gesamt | € | 26778350
Spalte1 | Spalte2 | Spalte3
Wartung (Vollwartungsvertrag) | €/a | 401675.25
Pachtkosten | €/a | 150000
Jahresabschluss, Steuerberatung | €/a | 15000
Versicherungen | €/a | 125000
Betriebsführung | €/a | 12000
Rückbaubürgschaft Rücklagen | €/a | 30000
Eigenverbrauch | €/a | 15000
Kosten Hamster | €/a | 2835.06
Sonstige | €/a | 25000
Betriebskosten | Euro | 776510.306
Spalte1 | Spalte2 | Spalte3
Investitionsvolumen | 26778350 | EUR
Jährlicher Energieertrag | 38168112.6 | kWh
Einspeisevergütung | 0.034 | EUR
Projektdauer | 20 | Jahre
NPV | 779461.9174 | EUR
IRR | 5.723%
Min. DSCR | 1.1004
ADSCR | 1.3204