## The Project
Solarpark Breisgau Süd
Source:
http://solitechdevices.com/Product_Image/Waldpolenz__3__01_62f37bf960.jpg
MK invest - one of Germany's most innovative renewable investment funds, introduces a new attractive investment opportunity to its valued customers - the Solarpark Breisgau Süd. On a 52ha site, a 35MW solar park will supply electricity to 10,000 homes and generate attractive revenue for its investors.

## Introduction
Task
This spreadsheet model calculates the relevant financial indicators, provides a detailed P&L state-ment and optimizes the project's financing structure.
Colour Codes:
Input Value:
Input value (indirect):
Selectable options (dropdown)

## InputOutput
Input | [5 empty] | Results | [21 empty] | For Dropdown
|  |  | Unit |  |  |  |  | Unit
Production | Base case | 42545412.7749 | kWh |  |  | Cost of equity (Capital Asset Pricing Model (CAPM)) |  | 3.254% | [19 empty] | Depreciation time | Debt maturity
| Bank Case | 40622750.971 | kWh | Bank Case | P75 | WACC |  | 3.476% | [19 empty] | 10 | 1
| Worst Case | 38892295.3716 | kWh |  |  | NPV |  | 9501450.2232 | EUR | [18 empty] | 11 | 2
[6 empty] | IRR |  | 7.011% | (Bank Case) | [18 empty] | 12 | 3
Financing | Debt | 75% |  |  |  | IRR of sponsors |  | 15.9% | (Bank Case) | [18 empty] | 13 | 4
| Equity | 7214817 | EUR (real) |  |  | ADSCR |  | 1.9951 | [19 empty] | 14 | 5
|  |  |  | Constant Payment |  | LCE |  | 0.069806 | EUR/kWh | [18 empty] | 15 | 6
| Maturity | 15 | years | [24 empty] | 16 | 7
| Limit | -21644451 | EUR (real) | [25 empty] | 8
| Repayment free years | 2 | [26 empty] | 9
| Interest Rate | 3.55% | p.a. | [25 empty] | 10
11
Other | Depreciation | 16 | years | [25 empty] | 12
13
| Tax Rate | 2% | [26 empty] | 14
| Basic Federal Rate | 3.5% | [26 empty] | 15
| Rate of Asessment | 380% | [26 empty] | 16
17
| Inflation | 2% | p.a. | [25 empty] | 18
| Discount Rate (WACC) | 3.476% |  |  |  | Profit & Loss Statement | [22 empty] | 19
[7 empty] | Unit | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 |  | 20
WACC parameters | Risk free rate | 1.63% |  |  |  | Revenues | EUR (nominal) | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364
| β-coefficient | 0.28 |  |  |  | OPEX | EUR (nominal) | -666823.2538 | -680159.7188 | -693762.9132 | -707638.1715 | -721790.9349 | -736226.7536 | -750951.2887 | -765970.3144 | -781289.7207 | -796915.5152 | -812853.8255 | -829110.902 | -845693.12 | -862606.9824 | -879859.1221 | -897456.3045 | -915405.4306 | -933713.5392 | -952387.81 | -971435.5662
| Market risk premium | 5.8% |  |  |  | EBITDA | EUR (nominal) | 2948601.5827 | 2935265.1176 | 2921661.9232 | 2907786.6649 | 2893633.9015 | 2879198.0828 | 2864473.5477 | 2849454.522 | 2834135.1157 | 2818509.3213 | 2802571.011 | 2786313.9345 | 2769731.7164 | 2752817.854 | 2735565.7144 | 2717968.5319 | 2700019.4058 | 2681711.2972 | 2663037.0264 | 2643989.2702
[6 empty] | Depreciations | EUR (nominal) | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | 0 | 0 | 0 | 0
[6 empty] | EBIT | EUR (nominal) | 1144897.3327 | 1131560.8676 | 1117957.6732 | 1104082.4149 | 1089929.6515 | 1075493.8328 | 1060769.2977 | 1045750.272 | 1030430.8657 | 1014805.0713 | 998866.761 | 982609.6845 | 966027.4664 | 949113.604 | 931861.4644 | 914264.2819 | 2700019.4058 | 2681711.2972 | 2663037.0264 | 2643989.2702
[6 empty] | Net financial income | EUR (nominal) | -768378.0105 | -768378.0105 | -742765.4102 | -691540.2094 | -640315.0088 | -589089.8081 | -537864.6074 | -486639.4067 | -435414.206 | -384189.0053 | -332963.8046 | -281738.6039 | -230513.4032 | -179288.2025 | -128063.0018 | -76837.8011 | -25612.6004 | 0 | 0 | 0
[6 empty] | EBT | EUR (nominal) | 376519.3222 | 363182.8571 | 375192.2631 | 412542.2055 | 449614.6428 | 486404.0248 | 522904.6904 | 559110.8653 | 595016.6597 | 630616.066 | 665902.9564 | 700871.0806 | 735514.0633 | 769825.4016 | 803798.4626 | 837426.4809 | 2674406.8055 | 2681711.2972 | 2663037.0264 | 2643989.2702
[6 empty] | Accounting tax | EUR (nominal) | -54348.9563 | -52308.4771 | -54145.9162 | -59860.4574 | -65532.5403 | -71161.3158 | -76745.9176 | -82285.4624 | -87779.0489 | -93225.7581 | -98624.6523 | -103974.7753 | -109275.1517 | -114524.7864 | -119722.6648 | -124867.7516 | -405925.7412 | -407043.3285 | -404186.165 | -401271.8583
[6 empty] | Profit after tax | EUR (nominal) | 322170.3659 | 310874.3799 | 321046.3468 | 352681.7481 | 384082.1024 | 415242.709 | 446158.7728 | 476825.4029 | 507237.6108 | 537390.3079 | 567278.3041 | 596896.3053 | 626238.9116 | 655300.6151 | 684075.7978 | 712558.7293 | 2268481.0642 | 2274667.9687 | 2258850.8614 | 2242717.4119
Cash waterfall
[6 empty] | Revenues | EUR (nominal) | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364
[6 empty] | OPEX | EUR (nominal) | -666823.2538 | -680159.7188 | -693762.9132 | -707638.1715 | -721790.9349 | -736226.7536 | -750951.2887 | -765970.3144 | -781289.7207 | -796915.5152 | -812853.8255 | -829110.902 | -845693.12 | -862606.9824 | -879859.1221 | -897456.3045 | -915405.4306 | -933713.5392 | -952387.81 | -971435.5662
[6 empty] | Tax | EUR (nominal) | -54348.9563 | -52308.4771 | -54145.9162 | -59860.4574 | -65532.5403 | -71161.3158 | -76745.9176 | -82285.4624 | -87779.0489 | -93225.7581 | -98624.6523 | -103974.7753 | -109275.1517 | -114524.7864 | -119722.6648 | -124867.7516 | -405925.7412 | -407043.3285 | -404186.165 | -401271.8583
[6 empty] | CFADS | EUR (nominal) | 2894252.6264 | 2882956.6404 | 2867516.007 | 2847926.2075 | 2828101.3612 | 2808036.767 | 2787727.6301 | 2767169.0596 | 2746356.0667 | 2725283.5632 | 2703946.3586 | 2682339.1591 | 2660456.5647 | 2638293.0676 | 2615843.0496 | 2593100.7804 | 2294093.6646 | 2274667.9687 | 2258850.8614 | 2242717.4119
[6 empty] | Interest | EUR (nominal) | -768378.0105 | -768378.0105 | -742765.4102 | -691540.2094 | -640315.0088 | -589089.8081 | -537864.6074 | -486639.4067 | -435414.206 | -384189.0053 | -332963.8046 | -281738.6039 | -230513.4032 | -179288.2025 | -128063.0018 | -76837.8011 | -25612.6004 | 0 | 0 | 0
[6 empty] | Repayment | EUR (nominal) | 0 | 0 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | 0 | 0 | 0
[6 empty] | Cash flow for sponsors | EUR (nominal) | 2125874.6159 | 2114578.6299 | 681787.1968 | 713422.5981 | 744822.9524 | 775983.559 | 806899.6228 | 837566.2529 | 867978.4608 | 898131.1579 | 928019.1541 | 957637.1553 | 986979.7616 | 1016041.4651 | 1044816.6478 | 1073299.5793 | 825517.6642 | 2274667.9687 | 2258850.8614 | 2242717.4119
Annual Results
MIN
[6 empty] | OPEX |  | 666823.2538 | 680159.7188 | 693762.9132 | 707638.1715 | 721790.9349 | 736226.7536 | 750951.2887 | 765970.3144 | 781289.7207 | 796915.5152 | 812853.8255 | 829110.902 | 845693.12 | 862606.9824 | 879859.1221 | 897456.3045 | 915405.4306 | 933713.5392 | 952387.81 | 971435.5662
[6 empty] | DSCR | 1.3119 | 3.7667 | 3.752 | 1.3119 | 1.3342 | 1.3575 | 1.3819 | 1.4074 | 1.4341 | 1.4621 | 1.4915 | 1.5226 | 1.5552 | 1.5898 | 1.6263 | 1.6651 | 1.7062 | 1.5621 | 0 | 0 | 0
[6 empty] | CFADS |  | 2894252.6264 | 2882956.6404 | 2867516.007 | 2847926.2075 | 2828101.3612 | 2808036.767 | 2787727.6301 | 2767169.0596 | 2746356.0667 | 2725283.5632 | 2703946.3586 | 2682339.1591 | 2660456.5647 | 2638293.0676 | 2615843.0496 | 2593100.7804 | 2294093.6646 | 2274667.9687 | 2258850.8614 | 2242717.4119
[6 empty] | Net Cash flow after debt service |  | 2125874.6159 | 2114578.6299 | 681787.1968 | 713422.5981 | 744822.9524 | 775983.559 | 806899.6228 | 837566.2529 | 867978.4608 | 898131.1579 | 928019.1541 | 957637.1553 | 986979.7616 | 1016041.4651 | 1044816.6478 | 1073299.5793 | 825517.6642 | 2274667.9687 | 2258850.8614 | 2242717.4119
Sensitivity Analysis, target variable: IRR of sponsors
Run scenario:
Credit type:

## Calculation
[5 empty] | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Input
|  |  | Unit | Unit II
Gross Energy Production |  | 49046700 | kWh
Safety Margin |  | 10%
1.65%
Net Energy Production |  | 43413686.505 | kWh
Performance Ratio |  | 98%
Capacity |  | 19200 | kWp
Interest for sponsors |  | 0% |  | p.a.
Volatility |  | 6.7%
Power Price |  | 0.25 | EUR/kWh | (real)
Premium |  | 0 | EUR/kWh | (real)
Total Price |  | 0.25 | EUR/kWh | (real)
CAPEX |  | -28859268 | EUR | (real)
Windturbine Construction |  | -24000000
Infrastructural costs |  | -3182500
Grid Connection |  | -415538
Development costs |  | -761230
Sale and Financing |  | -500000
% change |  | 100%
OPEX |  | -653748.288 | EUR/a | (real)
O&M |  | -461748.288
Lease |  | -192000
Energy production |  |  | kWh |  |  | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971
Power Price |  |  | EUR/kWh | (real) |  | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089
CAPEX |  |  | EUR | (real) | -28859268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX |  |  | EUR | (real) |  | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288 | -653748.288
Inflation |  |  | % | bar: 2015 to 2034
Inflation Index | [5 empty] | 1.02 | 1.0404 | 1.0612 | 1.0824 | 1.1041 | 1.1262 | 1.1487 | 1.1717 | 1.1951 | 1.219 | 1.2434 | 1.2682 | 1.2936 | 1.3195 | 1.3459 | 1.3728 | 1.4002 | 1.4282 | 1.4568 | 1.4859
Discount Rate |  |  | % |  |  | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476% | 3.476%
Output
Revenue
| Power Price |  | EUR/kWh | (nominal) |  | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089
| Production |  | kWh |  |  | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971 | 40622750.971
| Net revenue |  | EUR | (nominal) |  | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364 | 3615424.8364
Expenses
| OPEX |  | EUR | (nominal) |  | -666823.2538 | -680159.7188 | -693762.9132 | -707638.1715 | -721790.9349 | -736226.7536 | -750951.2887 | -765970.3144 | -781289.7207 | -796915.5152 | -812853.8255 | -829110.902 | -845693.12 | -862606.9824 | -879859.1221 | -897456.3045 | -915405.4306 | -933713.5392 | -952387.81 | -971435.5662
| CAPEX |  | EUR | (nominal) | -28859268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total |  | EUR |  | -28859268 | -666823.2538 | -680159.7188 | -693762.9132 | -707638.1715 | -721790.9349 | -736226.7536 | -750951.2887 | -765970.3144 | -781289.7207 | -796915.5152 | -812853.8255 | -829110.902 | -845693.12 | -862606.9824 | -879859.1221 | -897456.3045 | -915405.4306 | -933713.5392 | -952387.81 | -971435.5662
EBITDA |  |  | EUR | (nominal) | -28859268 | 2948601.5827 | 2935265.1176 | 2921661.9232 | 2907786.6649 | 2893633.9015 | 2879198.0828 | 2864473.5477 | 2849454.522 | 2834135.1157 | 2818509.3213 | 2802571.011 | 2786313.9345 | 2769731.7164 | 2752817.854 | 2735565.7144 | 2717968.5319 | 2700019.4058 | 2681711.2972 | 2663037.0264 | 2643989.2702
Depreciation |  |  | EUR | linear, (nominal) |  | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | 0 | 0 | 0 | 0
EBIT |  |  | EUR |  | -28859268 | 1144897.3327 | 1131560.8676 | 1117957.6732 | 1104082.4149 | 1089929.6515 | 1075493.8328 | 1060769.2977 | 1045750.272 | 1030430.8657 | 1014805.0713 | 998866.761 | 982609.6845 | 966027.4664 | 949113.604 | 931861.4644 | 914264.2819 | 2700019.4058 | 2681711.2972 | 2663037.0264 | 2643989.2702
Financing | Constant Payment
Constant Payment |  | Opening Balance |  | EUR |  | -21644451 | -21644451 | -21644451 | -20201487.6 | -18758524.2 | -17315560.8 | -15872597.4 | -14429634 | -12986670.6 | -11543707.2 | -10100743.8 | -8657780.4 | -7214817 | -5771853.6 | -4328890.2 | -2885926.8 | -1442963.4 | 0 | 0 | 0
Annuity (yearly) |  | Repayment |  | EUR |  | 0 | 0 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | 0 | 0 | 0
Bullet |  | Interest |  | EUR |  | -768378.0105 | -768378.0105 | -742765.4102 | -691540.2094 | -640315.0088 | -589089.8081 | -537864.6074 | -486639.4067 | -435414.206 | -384189.0053 | -332963.8046 | -281738.6039 | -230513.4032 | -179288.2025 | -128063.0018 | -76837.8011 | -25612.6004 | 0 | 0 | 0
|  | Debt Service |  | EUR |  | -768378.0105 | -768378.0105 | -2185728.8101 | -2134503.6094 | -2083278.4087 | -2032053.2081 | -1980828.0074 | -1929602.8067 | -1878377.6059 | -1827152.4053 | -1775927.2045 | -1724702.0038 | -1673476.8032 | -1622251.6024 | -1571026.4017 | -1519801.2011 | -1468576.0003 | 0 | 0 | 0
[6 empty] | 768378.0105 | 768378.0105 | 2185728.8101 | 2134503.6094 | 2083278.4087 | 2032053.2081 | 1980828.0074 | 1929602.8067 | 1878377.6059 | 1827152.4053 | 1775927.2045 | 1724702.0038 | 1673476.8032 | 1622251.6024 | 1571026.4017 | 1519801.2011 | 1468576.0003
Constant Payment
|  | Opening Balance |  | EUR |  | -21644451 | -21644451 | -21644451 | -20201487.6 | -18758524.2 | -17315560.8 | -15872597.4 | -14429634 | -12986670.6 | -11543707.2 | -10100743.8 | -8657780.4 | -7214817 | -5771853.6 | -4328890.2 | -2885926.8 | -1442963.4 | 0 | 0 | 0
|  | Repayment |  | EUR |  | 0 | 0 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | -1442963.4 | 0 | 0 | 0
|  | Interest |  | EUR |  | -768378.0105 | -768378.0105 | -742765.4102 | -691540.2094 | -640315.0088 | -589089.8081 | -537864.6074 | -486639.4067 | -435414.206 | -384189.0053 | -332963.8046 | -281738.6039 | -230513.4032 | -179288.2025 | -128063.0018 | -76837.8011 | -25612.6004 | 0 | 0 | 0
|  | Debt Service |  | EUR |  | -768378.0105 | -768378.0105 | -2185728.8101 | -2134503.6094 | -2083278.4087 | -2032053.2081 | -1980828.0074 | -1929602.8067 | -1878377.6059 | -1827152.4053 | -1775927.2045 | -1724702.0038 | -1673476.8032 | -1622251.6024 | -1571026.4017 | -1519801.2011 | -1468576.0003 | 0 | 0 | 0
Annuity (yearly)
|  | Opening Balance |  | EUR |  | -21644451 | -20526859.317 | -19369593.1293 | -18171243.9919 | -16930353.4601 | -15645411.3145 | -14314853.7227 | -12937061.3364 | -11510357.3203 | -10033005.3117 | -8503207.3068 | -6919101.4727 | -5278759.8815 | -3580186.1638 | -1821313.0792 | 2.5611e-09 | 2.5611e-09 | 2.5611e-09 | 2.5611e-09 | 2.5611e-09
|  | Repayment |  | EUR |  | -1117591.683 | -1157266.1877 | -1198349.1374 | -1240890.5318 | -1284942.1456 | -1330557.5918 | -1377792.3863 | -1426704.016 | -1477352.0086 | -1529798.0049 | -1584105.8341 | -1640341.5912 | -1698573.7177 | -1758873.0847 | -1821313.0792 | 0 | 0 | 0 | 0 | 0
|  | Interest |  | EUR |  | -768378.0105 | -728703.5058 | -687620.5561 | -645079.1617 | -601027.5478 | -555412.1017 | -508177.3072 | -459265.6774 | -408617.6849 | -356171.6886 | -301863.8594 | -245628.1023 | -187395.9758 | -127096.6088 | -64656.6143 | 9.092e-11 | 9.092e-11 | 9.092e-11 | 9.092e-11 | 9.092e-11
|  | Debt Service |  | EUR |  | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | -1885969.6935 | 0 | 0 | 0 | 0 | 0
Bullet
|  | Opening Balance |  | EUR |  | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | -21644451 | 0 | 0 | 0 | 0 | 0
|  | Repayment |  | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21644451 | 0 | 0 | 0 | 0 | 0
|  | Interest |  | EUR |  | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | 0 | 0 | 0 | 0 | 0
|  | Debt Service |  | EUR |  | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -768378.0105 | -22412829.0105 | 0 | 0 | 0 | 0 | 0
Income Statement
| EBITDA |  | EUR |  |  | 2948601.5827 | 2935265.1176 | 2921661.9232 | 2907786.6649 | 2893633.9015 | 2879198.0828 | 2864473.5477 | 2849454.522 | 2834135.1157 | 2818509.3213 | 2802571.011 | 2786313.9345 | 2769731.7164 | 2752817.854 | 2735565.7144 | 2717968.5319 | 2700019.4058 | 2681711.2972 | 2663037.0264 | 2643989.2702
| Interest |  | EUR |  |  | -768378.0105 | -768378.0105 | -742765.4102 | -691540.2094 | -640315.0088 | -589089.8081 | -537864.6074 | -486639.4067 | -435414.206 | -384189.0053 | -332963.8046 | -281738.6039 | -230513.4032 | -179288.2025 | -128063.0018 | -76837.8011 | -25612.6004 | 0 | 0 | 0
| Depreciation |  | EUR |  |  | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | -1803704.25 | 0 | 0 | 0 | 0
| EBT |  | EUR |  |  | 376519.3222 | 363182.8571 | 375192.2631 | 412542.2055 | 449614.6428 | 486404.0248 | 522904.6904 | 559110.8653 | 595016.6597 | 630616.066 | 665902.9564 | 700871.0806 | 735514.0633 | 769825.4016 | 803798.4626 | 837426.4809 | 2674406.8055 | 2681711.2972 | 2663037.0264 | 2643989.2702
Commercial Tax paid
|  | Amount of Exemption |  | EUR |  | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500 | 24500
|  | Taxable Amount |  | EUR |  | 352019.3222 | 338682.8571 | 350692.2631 | 388042.2055 | 425114.6428 | 461904.0248 | 498404.6904 | 534610.8653 | 570516.6597 | 606116.066 | 641402.9564 | 676371.0806 | 711014.0633 | 745325.4016 | 779298.4626 | 812926.4809 | 2649906.8055 | 2657211.2972 | 2638537.0264 | 2619489.2702
|  | multiplied with Basic Federal rate |  |  |  | 12320.6763 | 11853.9 | 12274.2292 | 13581.4772 | 14879.0125 | 16166.6409 | 17444.1642 | 18711.3803 | 19968.0831 | 21214.0623 | 22449.1035 | 23672.9878 | 24885.4922 | 26086.3891 | 27275.4462 | 28452.4268 | 92746.7382 | 93002.3954 | 92348.7959 | 91682.1245
|  | multiplied with Rate of Asessment |  |  |  | 46818.5698 | 45044.82 | 46642.071 | 51609.6133 | 56540.2475 | 61433.2353 | 66287.8238 | 71103.2451 | 75878.7157 | 80613.4368 | 85306.5932 | 89957.3537 | 94564.8704 | 99128.2784 | 103646.6955 | 108119.222 | 352437.6051 | 353409.1025 | 350925.4245 | 348392.0729
|  | Commercial Tax paid |  |  |  | 46818.5698 | 45044.82 | 46642.071 | 51609.6133 | 56540.2475 | 61433.2353 | 66287.8238 | 71103.2451 | 75878.7157 | 80613.4368 | 85306.5932 | 89957.3537 | 94564.8704 | 99128.2784 | 103646.6955 | 108119.222 | 352437.6051 | 353409.1025 | 350925.4245 | 348392.0729
Taxable income
|  | PBT before loss carry forward |  | EUR |  | 376519.3222 | 363182.8571 | 375192.2631 | 412542.2055 | 449614.6428 | 486404.0248 | 522904.6904 | 559110.8653 | 595016.6597 | 630616.066 | 665902.9564 | 700871.0806 | 735514.0633 | 769825.4016 | 803798.4626 | 837426.4809 | 2674406.8055 | 2681711.2972 | 2663037.0264 | 2643989.2702
|  | Loss carry forward |  | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | PBT after loss carrry forward |  | EUR |  | 376519.3222 | 363182.8571 | 375192.2631 | 412542.2055 | 449614.6428 | 486404.0248 | 522904.6904 | 559110.8653 | 595016.6597 | 630616.066 | 665902.9564 | 700871.0806 | 735514.0633 | 769825.4016 | 803798.4626 | 837426.4809 | 2674406.8055 | 2681711.2972 | 2663037.0264 | 2643989.2702
Tax paid
|  | Tax rate |  | % | bar: 2015 to 2034
|  | Taxable Income |  | EUR |  | 376519.3222 | 363182.8571 | 375192.2631 | 412542.2055 | 449614.6428 | 486404.0248 | 522904.6904 | 559110.8653 | 595016.6597 | 630616.066 | 665902.9564 | 700871.0806 | 735514.0633 | 769825.4016 | 803798.4626 | 837426.4809 | 2674406.8055 | 2681711.2972 | 2663037.0264 | 2643989.2702
|  | Tax paid |  | EUR |  | -7530.3864 | -7263.6571 | -7503.8453 | -8250.8441 | -8992.2929 | -9728.0805 | -10458.0938 | -11182.2173 | -11900.3332 | -12612.3213 | -13318.0591 | -14017.4216 | -14710.2813 | -15396.508 | -16075.9693 | -16748.5296 | -53488.1361 | -53634.2259 | -53260.7405 | -52879.7854
| Taxes |  | EUR |  |  | -54348.9563 | -52308.4771 | -54145.9162 | -59860.4574 | -65532.5403 | -71161.3158 | -76745.9176 | -82285.4624 | -87779.0489 | -93225.7581 | -98624.6523 | -103974.7753 | -109275.1517 | -114524.7864 | -119722.6648 | -124867.7516 | -405925.7412 | -407043.3285 | -404186.165 | -401271.8583
| Profit after taxes |  | EUR |  | -28859268 | 322170.3659 | 310874.3799 | 321046.3468 | 352681.7481 | 384082.1024 | 415242.709 | 446158.7728 | 476825.4029 | 507237.6108 | 537390.3079 | 567278.3041 | 596896.3053 | 626238.9116 | 655300.6151 | 684075.7978 | 712558.7293 | 2268481.0642 | 2274667.9687 | 2258850.8614 | 2242717.4119
Reserve | [5 empty] | 1442963.4 | 1442963.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kumulierte Reserve | [5 empty] | 1442963.4 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8 | 2885926.8
Net cash flow after taxes (CFADS) |  |  | EUR | (nominal) | -28859268 | 2894252.6264 | 2882956.6404 | 2867516.007 | 2847926.2075 | 2828101.3612 | 2808036.767 | 2787727.6301 | 2767169.0596 | 2746356.0667 | 2725283.5632 | 2703946.3586 | 2682339.1591 | 2660456.5647 | 2638293.0676 | 2615843.0496 | 2593100.7804 | 2294093.6646 | 2274667.9687 | 2258850.8614 | 2242717.4119
Net cash flow after debt service |  |  | EUR | (nominal) | -7214817 | 2125874.6159 | 2114578.6299 | 681787.1968 | 713422.5981 | 744822.9524 | 775983.559 | 806899.6228 | 837566.2529 | 867978.4608 | 898131.1579 | 928019.1541 | 957637.1553 | 986979.7616 | 1016041.4651 | 1044816.6478 | 1073299.5793 | 825517.6642 | 2274667.9687 | 2258850.8614 | 2242717.4119
Cash flow needed for sponsors |  |  | EUR | (nominal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Service Cover Ratio (DSCR) |  |  | EUR | (nominal) |  | 3.7667 | 3.752 | 1.3119 | 1.3342 | 1.3575 | 1.3819 | 1.4074 | 1.4341 | 1.4621 | 1.4915 | 1.5226 | 1.5552 | 1.5898 | 1.6263 | 1.6651 | 1.7062 | 1.5621 | 0 | 0 | 0
Levelised costs of energy
| ABS( NPV of costs |  | EUR |  | 2015: -11282763.6769
| + NPV taxes |  | EUR |  | 2015: -248179.2327
| + Investment costs ) |  | EUR |  | 2015: -28859268
| / NPV of energy production |  | kWh |  | 2015: 578602709.9156
| LCE |  | EUR/kWh |  | 2015: 0.069806

## Graphs
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
OPEX | 666823.2538 | 680159.7188 | 693762.9132 | 707638.1715 | 721790.9349 | 736226.7536 | 750951.2887 | 765970.3144 | 781289.7207 | 796915.5152 | 812853.8255 | 829110.902 | 845693.12 | 862606.9824 | 879859.1221 | 897456.3045 | 915405.4306 | 933713.5392 | 952387.81 | 971435.5662
Tax | 54348.9563 | 52308.4771 | 54145.9162 | 59860.4574 | 65532.5403 | 71161.3158 | 76745.9176 | 82285.4624 | 87779.0489 | 93225.7581 | 98624.6523 | 103974.7753 | 109275.1517 | 114524.7864 | 119722.6648 | 124867.7516 | 405925.7412 | 407043.3285 | 404186.165 | 401271.8583
Interest | 768378.0105 | 768378.0105 | 742765.4102 | 691540.2094 | 640315.0088 | 589089.8081 | 537864.6074 | 486639.4067 | 435414.206 | 384189.0053 | 332963.8046 | 281738.6039 | 230513.4032 | 179288.2025 | 128063.0018 | 76837.8011 | 25612.6004 | 0 | 0 | 0
Repayment | 0 | 0 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 1442963.4 | 0 | 0 | 0
Cash flow for sponsors | 2125874.6159 | 2114578.6299 | 681787.1968 | 713422.5981 | 744822.9524 | 775983.559 | 806899.6228 | 837566.2529 | 867978.4608 | 898131.1579 | 928019.1541 | 957637.1553 | 986979.7616 | 1016041.4651 | 1044816.6478 | 1073299.5793 | 825517.6642 | 2274667.9687 | 2258850.8614 | 2242717.4119
-1

## Revenues
Standort in Bezug auf Ref.-Ertrag (%) | Verlängerung hohe Vergütung mit 0,6% in Monaten | Verlängerung hohe Vergütung mit 0,19% in Monaten | Dauer hohe Vergütung mit 0,19% in Monaten | Dauer hohe Vergütung rechnerisch in Jahren | Dauer hohe Vergütung real in Jahren
67 | 105 | 147.3684 | 312.3684 | 26.0307 | 20
0.0495 | €/kWh | Basis-Vergütung
0.089 | €/kWh | Hohe Vergütung
20 | Jahre | Laufzeit der hohen Vergütung
20 | Jahre | Abgerundete Laufzeit der Vergütung
20 | Jahre | Aufgerundete Laufzeit der Vergütung
Jahr | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Vergütung |  | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089 | 0.089

## O&M
O&M
Wartung | 0.5%
Reperaturrücklagen | 0.2%
Versicherung | 0.3%
Kaufmännische Betriebsführung | 0.2%
Technische Überwachung und Verwaltung | 0.2%
Sonstiges | 0.2%
O&M-Gesamt | 1.6%
-461748.288
Pachten |  | Pachten Nebenrechnung | Anteil im WEG | Fläche in m² | Pachtzahlung Fläche | Anzahl WEA | Pachtzahlung WEA | Trassenlänge | Vertragsabschluss | Zahlung Trasse
WEG | 134400 | Grün | 0.1 | 136000 | 13440 | 0 | 0 | 924 | 1 | 3996
WEA | 57600 | Helllila | 0.14 | 190400 | 18816 | 0 | 0 | 0 | 0 | 0
Pachten-Gesamt | -192000 | hellblau | 0.095 | 129200 | 12768 | 1 | 9600 | 743 | 1 | 4292
|  | Blau | 0.165 | 224400 | 22176 | 1 | 9600 | 98 | 1 | 392
|  | Orange | 0.05 | 68000 | 6720 | 0 | 0 | 0 | 0 | 0
|  | Braun | 0.14 | 190400 | 18816 | 1 | 9600 | 398 | 1 | #REF!
|  | Pink | 0.11 | 149600 | 14784 | 1 | 9600 | 506 | 1 | #REF!
|  | Gelb | 0.2 | 272000 | 26880 | 2 | 19200 | 1253 | 1 | #REF!
|  | Summe | 1 | 1360000 | 134400 | 6 | 57600 | 3922 | 6 | #REF!
|  | Geamtgröße WEG |  | 1360000 |  | m²
|  | Anzahl WEA |  | 6
|  | Nennleistung WEA |  | 3.2 |  | MW
|  | Pacht pro MW |  | 10000 |  | €
|  | Gesamtpacht |  | 192000 |  | €
|  | Anteil WEA Standort |  | 0.3
|  | Anteil am WEG |  | 0.7
Trasse
|  | Pro Vertragsabschluss |  | 300 |  | €
|  | Pro laufender Meter |  | 4 |  | €
|  | Länge Kabeltrasse |  | 1320 |  | m
Trafostation

## Capital Costs
Investitionskosten:
WEA
WEA Investition pro Anlage | 4000000
WEA Anzahl | 6
Windturbine Construction Costs | -24000000
Infrastruktur
Stellflächen Kran | 3000000
Wegebau | 176500
Ausbau vorhandener Wege | 6000 | Netzanschluss
Infrastructural Costs Total | -3182500 |  | km | EUR/km | EUR
|  | Interne Verkabelung | 2.62 | 87700 | 229774
Grid Connection Costs | -415538 | Externe Verkabelung | 1.32 | 87700 | 115764
|  | Übergabestation |  |  | 70000
|  | GESAMT |  |  | 415538
Projektentwicklung
Schallgutachten | 15000
Bodengutachten | 20000
Faunistisches Gutachten | 25000
Umweltverträglichkeitsprüfung | 15000
Abnahmegutachten | 15000
Notar und Rechtskosten | 100000
Kebel und Wege Sicherung | 21230
Gehalt Projektentwicklung | 500000
Sonstige Kosten | 50000
Development Costs Total | -761230
Finianzierung/ Vertrieb | -500000
Gesamt Investitionskosten | -28859268