## Parameters
Input - Parameter |  |  |  |  | Resultate
|  | Einheiten |  |  |  |  | Einheit
Case - Option | Base Case |  |  |  | NPV | 58191.7824 | EUR
[5 empty] | NPV costs | 2542245.6008 | EUR
Number of WT | 6 | Stück |  |  | NPV kWh | 395679973.9354 | EUR
Installed output (Per WT) | 2100 | kWp |  |  | IRR | 7.557%
Total output | 12600 | kWp |  |  | LEC | 0.018361 | EUR
Gross energy yield | 39026700 | kWh/a |  |  | Min. DSCR | 1.0848
Cable and transformer losses | 2.2% |  |  |  | ADSCR | 1.3786
Bat losses | 0%
Collateral (Damage) | 0%
Total losses | 2.2%
Net energy yield | 38168112.6 | kWh
Site quality | 71.04% |  |  |  | GuV
Term Initial tariff | 22 | a
Feed-in tariff (start) | 0.033 | EUR/kWh | 3 Rs/kwh | https://www.mercomindia.com/gujarat-tariff-wind-projects-2027 |  | Einheiten |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
[5 empty] | Income | EUR (nominal) |  | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158
[5 empty] | Operating costs | EUR (nominal) |  | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
[5 empty] | EBITDA | EUR (nominal) |  | 999128.6658 | 993429.9386 | 987437.1001 | 1131134.9713 | 1124507.5895 | 1117538.1686 | 1110209.0559 | 1102501.6876 | 1094396.5421 | 1085873.0901 | 1076909.7426 | 1067483.7968 | 1057571.378 | 1047147.3792 | 1036185.3978 | 1024657.6686 | 1012534.9932 | 999786.6666 | 986380.3989 | 972282.2336
Investment |  |  |  | TIC/ DP | Depreciation and amortization | EUR (nominal) |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
Total investment costs |  | EUR |  |  | EBIT | EUR (nominal) |  | 298610.5944 | 292911.8672 | 286919.0287 | 430616.8998 | 423989.5181 | 417020.0972 | 409690.9845 | 401983.6162 | 393878.4707 | 385355.0186 | 376391.6712 | 366965.7254 | 357053.3065 | 346629.3077 | 1036185.3978 | 1024657.6686 | 1012534.9932 | 999786.6666 | 986380.3989 | 972282.2336
| -9807253 |  |  |  | Net financial income | EUR (nominal) |  | -641963.3029 | -641963.3029 | -641963.3029 | -623082.0293 | -585319.4821 | -547556.9349 | -509794.3876 | -472031.8404 | -434269.2932 | -396506.7459 | -358744.1987 | -320981.6515 | -283219.1042 | -245456.557 | -207694.0098 | -169931.4625 | -132168.9153 | -94406.3681 | -56643.8208 | -18881.2736
Total operating costs | -105000 | EUR |  |  | EBT | EUR (nominal) |  | -343352.7086 | -349051.4357 | -355044.2742 | -192465.1295 | -161329.964 | -130536.8377 | -100103.4032 | -70048.2242 | -40390.8225 | -11151.7273 | 17647.4725 | 45984.0739 | 73834.2023 | 101172.7507 | 828491.388 | 854726.206 | 880366.0779 | 905380.2985 | 929736.578 | 953400.96
[5 empty] | Taxes | EUR (nominal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50514.47 | -264109.8234 | -271614.0896 | -278920.9734 | -286020.288
[5 empty] | Profit after tax | EUR (nominal) |  | -343352.7086 | -349051.4357 | -355044.2742 | -192465.1295 | -161329.964 | -130536.8377 | -100103.4032 | -70048.2242 | -40390.8225 | -11151.7273 | 17647.4725 | 45984.0739 | 73834.2023 | 101172.7507 | 828491.388 | 804211.736 | 616256.2545 | 633766.209 | 650815.6046 | 667380.672
Finanzierung (
Loan type | Constant Payment
Debt ratio | 72.73%
Equity | 2674327.4117 | EUR |  |  | Cash-Flow
Term | 17 | Jahre
Interest Bank | 9% | https://www.utilitysmarts.com/renewables/wind-power/what-is-the-cost-of-wind-turbine-in-india/#google_vignette |  |  |  | Einheit |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Refinancing | 0%
Interest rate | 9% | India Inflation Rate 1960-2024 ¦ MacroTrends |  |  | Income | EUR (nominal) |  | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158
Debt capital | 7132925.5883 |  |  |  | Operating costs | EUR |  | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
Loss carry forward | Yes |  |  |  | Trade tax | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50514.47 | -264109.8234 | -271614.0896 | -278920.9734 | -286020.288
Risk free rate | 1.15% |  |  |  | CFADS | EUR |  | 999128.6658 | 993429.9386 | 987437.1001 | 1131134.9713 | 1124507.5895 | 1117538.1686 | 1110209.0559 | 1102501.6876 | 1094396.5421 | 1085873.0901 | 1076909.7426 | 1067483.7968 | 1057571.378 | 1047147.3792 | 1036185.3978 | 974143.1986 | 748425.1699 | 728172.5771 | 707459.4255 | 686261.9456
Market risk premium | 5.15% |  |  |  | interest | EUR |  | -641963.3029 | -641963.3029 | -641963.3029 | -623082.0293 | -585319.4821 | -547556.9349 | -509794.3876 | -472031.8404 | -434269.2932 | -396506.7459 | -358744.1987 | -320981.6515 | -283219.1042 | -245456.557 | -207694.0098 | -169931.4625 | -132168.9153 | -94406.3681 | -56643.8208 | -18881.2736
beta | 0.3 |  |  |  | Repayment | EUR |  | 0 | 0 | 0 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581
Cost of equity | 2.695% |  |  |  | CFASH | EUR |  | 357165.3629 | 351466.6357 | 345473.7972 | 88469.0838 | 119604.2493 | 150397.3756 | 180830.8101 | 210885.9891 | 240543.3908 | 269782.486 | 298581.6858 | 326918.2872 | 354768.4156 | 382106.964 | 408907.5299 | 384627.8779 | 196672.3964 | 214182.3508 | 231231.7465 | 247796.8139
WACC w/ tax | 7.281%
Other
Depreciation period | 14 | Jahre
Inflation | 5.161% | (Last 10 years averages)
Discount rate | 7.281%
Project duration | 25 | Jahre
Constant Payment
Annuity
Business tax
tax-free amount | 24500 | €
Tax base | 3.5%
Nentzelsrode share | 70%
Share of municipality of management | 30%
Municipality of location | 357% | IHK Erfurt
Municipality of the management | 470% | IHK Hamburg
Base case | 38168112.6
Base case without security | 38168112.6
Note on C42: Dennis Schneck: http://www.bloomberg.com/markets/rates-bonds/government-bonds/germany/
Note on C43: Dennis Schneck: http://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html

## Kalkulation
Kalkulation |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Einheit
Periode |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Jahr |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Inflation |  | 1 | 1.0516 | 1.1059 | 1.163 | 1.223 | 1.2861 | 1.3525 | 1.4223 | 1.4957 | 1.5729 | 1.654 | 1.7394 | 1.8292 | 1.9236 | 2.0229 | 2.1273 | 2.237 | 2.3525 | 2.4739 | 2.6016 | 2.7359
Erträge
Energie | kWh |  | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6
Einspeisevergütung (Fix für 20 Jahre) | EUR/kWh |  | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033 | 0.033
Total | EUR |  | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 1259547.7158 | 25190954.316
Ausgaben
Investment | EUR | 0 2015: -9807253
Betriebskosten | EUR (nominal) |  | -110419.05 | -116117.7772 | -122110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
Ausschüttung REC | EUR | 1 2016: -150000; 2 2017: -150000; 3 2018: -150000
Total | EUR (nominal) | -9807253 | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
EBITDA | EUR | -9807253 | 999128.6658 | 993429.9386 | 987437.1001 | 1131134.9713 | 1124507.5895 | 1117538.1686 | 1110209.0559 | 1102501.6876 | 1094396.5421 | 1085873.0901 | 1076909.7426 | 1067483.7968 | 1057571.378 | 1047147.3792 | 1036185.3978 | 1024657.6686 | 1012534.9932 | 999786.6666 | 986380.3989 | 972282.2336
Abschreibung | EUR | 0 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EUR | -9807253 | 298610.5944 | 292911.8672 | 286919.0287 | 430616.8998 | 423989.5181 | 417020.0972 | 409690.9845 | 401983.6162 | 393878.4707 | 385355.0186 | 376391.6712 | 366965.7254 | 357053.3065 | 346629.3077 | 1036185.3978 | 1024657.6686 | 1012534.9932 | 999786.6666 | 986380.3989 | 972282.2336
Steuer | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50514.47 | 264109.8234 | 271614.0896 | 278920.9734 | 286020.288
CFADS | EUR | -9807253 | 999128.6658 | 993429.9386 | 987437.1001 | 1131134.9713 | 1124507.5895 | 1117538.1686 | 1110209.0559 | 1102501.6876 | 1094396.5421 | 1085873.0901 | 1076909.7426 | 1067483.7968 | 1057571.378 | 1047147.3792 | 1036185.3978 | 974143.1986 | 748425.1699 | 728172.5771 | 707459.4255 | 686261.9456
Income Statement
EBITAD | EUR |  | 999128.6658 | 993429.9386 | 987437.1001 | 1131134.9713 | 1124507.5895 | 1117538.1686 | 1110209.0559 | 1102501.6876 | 1094396.5421 | 1085873.0901 | 1076909.7426 | 1067483.7968 | 1057571.378 | 1047147.3792 | 1036185.3978 | 1024657.6686 | 1012534.9932 | 999786.6666 | 986380.3989 | 972282.2336
Zinsen | EUR |  | -641963.3029 | -641963.3029 | -641963.3029 | -623082.0293 | -585319.4821 | -547556.9349 | -509794.3876 | -472031.8404 | -434269.2932 | -396506.7459 | -358744.1987 | -320981.6515 | -283219.1042 | -245456.557 | -207694.0098 | -169931.4625 | -132168.9153 | -94406.3681 | -56643.8208 | -18881.2736
Abschreibung | EUR |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
PBT | EUR |  | -343352.7086 | -349051.4357 | -355044.2742 | -192465.1295 | -161329.964 | -130536.8377 | -100103.4032 | -70048.2242 | -40390.8225 | -11151.7273 | 17647.4725 | 45984.0739 | 73834.2023 | 101172.7507 | 828491.388 | 854726.206 | 880366.0779 | 905380.2985 | 929736.578 | 953400.96
loss carry forward | EUR |  | 0 | -343352.7086 | -692404.1443 | -1047448.4185 | -1239913.548 | -1401243.512 | -1531780.3497 | -1631883.7529 | -1701931.9771 | -1742322.7995 | -1753474.5268 | -1735827.0543 | -1689842.9804 | -1616008.7781 | -1514836.0274 | -686344.6394 | 0 | 0 | 0 | 0
taxable income | EUR |  | -343352.7086 | -692404.1443 | -1047448.4185 | -1239913.548 | -1401243.512 | -1531780.3497 | -1631883.7529 | -1701931.9771 | -1742322.7995 | -1753474.5268 | -1735827.0543 | -1689842.9804 | -1616008.7781 | -1514836.0274 | -686344.6394 | 168381.5667 | 880366.0779 | 905380.2985 | 929736.578 | 953400.96
Steuern
Versteuerbares Einkommen nach Freibetrag | EUR
Anteil Nentzelsrode (70 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Nentzelsrode | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Anteil Hamburg (30 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Hamburg | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Gesamt | EUR | 11 2026: 0; 12 2027: 0; 13 2028: 0; 14 2029: 0; 15 2030: 0; 16 2031: 50514.47; 17 2032: 264109.8234; 18 2033: 271614.0896; 19 2034: 278920.9734; 20 2035: 286020.288
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  | 0 | 0 | 0 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 623082.0293 | 585319.4821 | 547556.9349 | 509794.3876 | 472031.8404 | 434269.2932 | 396506.7459 | 358744.1987 | 320981.6515 | 283219.1042 | 245456.557 | 207694.0098 | 169931.4625 | 132168.9153 | 94406.3681 | 56643.8208 | 18881.2736
Debt Service | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 1042665.8875 | 1004903.3402 | 967140.793 | 929378.2458 | 891615.6985 | 853853.1513 | 816090.6041 | 778328.0568 | 740565.5096 | 702802.9624 | 665040.4151 | 627277.8679 | 589515.3207 | 551752.7734 | 513990.2262 | 476227.679 | 438465.1318
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  |  |  |  | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 623082.0293 | 585319.4821 | 547556.9349 | 509794.3876 | 472031.8404 | 434269.2932 | 396506.7459 | 358744.1987 | 320981.6515 | 283219.1042 | 245456.557 | 207694.0098 | 169931.4625 | 132168.9153 | 94406.3681 | 56643.8208 | 18881.2736
Debt Service | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 1042665.8875 | 1004903.3402 | 967140.793 | 929378.2458 | 891615.6985 | 853853.1513 | 816090.6041 | 778328.0568 | 740565.5096 | 702802.9624 | 665040.4151 | 627277.8679 | 589515.3207 | 551752.7734 | 513990.2262 | 476227.679 | 438465.1318 | 769495.1852
Annuity
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6940006.7106 | 6729725.1339 | 6500518.2153 | 6250682.674 | 5978361.934 | 5681532.3274 | 5357988.0562 | 5005324.8006 | 4620921.852 | 4201922.6381 | 3745213.4948 | 3247400.5287 | 2704784.3957 | 2113332.8106 | 1468650.5829 | 765946.9547
Repayment | EUR |  |  |  |  | 192918.8777 | 210281.5767 | 229206.9186 | 249835.5413 | 272320.74 | 296829.6066 | 323544.2712 | 352663.2556 | 384402.9486 | 418999.214 | 456709.1432 | 497812.9661 | 542616.1331 | 591451.585 | 644682.2277 | 702703.6282 | 765946.9547
Interest | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 641963.3029 | 624600.604 | 605675.262 | 585046.6394 | 562561.4407 | 538052.5741 | 511337.9095 | 482218.9251 | 450479.2321 | 415882.9667 | 378173.0374 | 337069.2145 | 292266.0476 | 243430.5956 | 190199.953 | 132178.5525 | 68935.2259
Debt service | EUR |  | 641963.3029 | 641963.3029 | 641963.3029 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 834882.1807 | 1018409.5538
Cash Flow after debt service | EUR | -2674327.4117 | 357165.3629 | 351466.6357 | 345473.7972 | 88469.0838 | 119604.2493 | 150397.3756 | 180830.8101 | 210885.9891 | 240543.3908 | 269782.486 | 298581.6858 | 326918.2872 | 354768.4156 | 382106.964 | 408907.5299 | 384627.8779 | 196672.3964 | 214182.3508 | 231231.7465 | 247796.8139
Cash Flow Genossenschaft |  |  | 357165.3629 | 351466.6357 | 345473.7972 | 88469.0838 | 119604.2493 | 150397.3756 | 180830.8101 | 210885.9891 | 240543.3908 | 269782.486 | 298581.6858 | 326918.2872 | 354768.4156 | 382106.964 | 408907.5299 | 384627.8779 | 196672.3964 | 214182.3508 | 231231.7465 | 247796.8139
DSCR |  |  | 1.5564 | 1.5475 | 1.5382 | 1.0848 | 1.119 | 1.1555 | 1.1946 | 1.2365 | 1.2817 | 1.3306 | 1.3836 | 1.4414 | 1.5048 | 1.5746 | 1.6519 | 1.6524 | 1.3565 | 1.4167 | 1.4855 | 1.5651
ADSCR |  | 0 2015: 1.3786
Betriebskosten für Grafik |  |  | 260419.05 | 266117.7772 | 272110.6157 | 128412.7445 | 135040.1263 | 142009.5472 | 149338.6599 | 157046.0282 | 165151.1737 | 173674.6257 | 182637.9732 | 192063.919 | 201976.3378 | 212400.3366 | 223362.318 | 234890.0472 | 247012.7226 | 259761.0492 | 273167.3169 | 287265.4822

## Daten
Input
Project / Plant
Nentzelsrode project
Type of company Operator | GmbH
Type of plant | Suzlon S97 2100KW |  |  |  | Gross energy yield | kWh/a | 39924500
Number of plants (WT) |  | 6
Installed capacity | MW | 2.1 |  |  | Discount for line & transformer losses |  | 2.2%
Commissioning |  | 2025-01-01 |  |  | Safety discount |  | 0%
Price per plant | € | 1166666 | Ref. PDF
Reference yield per WT | kWh | 6598300 |  |  | Net energy yield | kWh/a | 39046161
Remuneration
Reference energy yield | kWh | 39589800
Energy yield | kWh/a | 39046161
Energy yield | kWh/5a | 195230805
Site quality |  | 493.1%
Term Initial remuneration | a | -71.252
Degression |  | 1.5% |  |  | Einnahmen Grundvergütung | €/a | 1764886.4772
SDL bonus | €cent/kWh | 0 |  |  | Einnahmen Anfangsvergütung | €/a | 3233022.1308
Repowering bonus | €cent/kWh | 0
Initial remuneration | €cent/kWh | 8.28
Initial tariff incl. bonuses | €cent/kWh | 8.28
Basic remuneration | €cent/kWh | 4.52
investment
Berechnung
WTG, incl. transformer, transportation, assembly, foundation | € | 6999996
|  |  |  | Anzahl | Einzelpreis
Foundation | € | 231000 |  | 6 | 38500 | € /WEA
Road construction | € | 0 |  | 0 | 26950 | €/km
Easement for road construction | € | 0 |  | 0 | 2888 | €/Flurstück
Internal and external cabling | € | 139974 |  | 6 | 23329 | €/km | 200 Rs
Cabling land use | € | 798 |  | 7 | 114 | €/Flurstück
Cabling land use | € | 1960000 |  | 20000 | 98 | €/Meter
Rotor painting | € | 750 |  | 1 | 750 | €/Stck.
Transfer station | € | 28500 |  | 1 | 28500 | €/Stck.
Grid connection | € | 770 |  | 1 | 770 | € /Anschluß
Wind expertise | € | 16200 |  | 1 | 16200 | €/Stck.
Noise survey | € | 5775 |  | 1 | 5775 | €/Stck.
Soil expertise | € | 7700 |  | 1 | 7700 | €/Stck.
Faunistic expertise | € | 7625 |  | 1 | 7625 | €/Stck.
Hamster relocation | € | 1926 |  | 2 | 963 | €/Stck.
Hamster compensation areas | € | 1078 |  | 2 | 539 | €/Stck.
Acceptance report | € | 7700 |  | 1 | 7700 | €/Stck.
Notary and legal costs | € | 15250 |  | 1 | 15250 | €/Stck.
SDL expert opinion | € | 3850 |  | 1 | 3850 | €/Stck.
Project planning | € | 50000
Building permit | € | 11111 |  | 1 | 11111 | €/Stck.
Compensatory measures | € | 47750 |  | 5 | 9550 | €/WEA
Other costs | € | 38500
Pre-financing
Bank structuring fee | € | 115500
Guarantee commission | €
Reserve | € | 115500
Total purchase price | € | 9807253 | GERC Updates Regulations for Small Wind Projects - Asia Pacific ¦ Energetica India Magazine
Specific purchase price | €/kWh | 0.25117
Depreciable investment costs | € | 9807253
Financing
Equity share | 27.27% | € | 2674437.8931
Debt capital share | 72.73% | € | 7132815.1069
KfW Program 270 Renewable Energies - “Standard” program section
Amount | € | 7132815.1069
Term | a | 14
Interest Bank |  | 3%
Refinancing |  | 2.5%
Repayment-free years | a | 3
Disbursement date |  | 2015-01-01
Operating costs
Maintenance (full maintenance contract) | €/a | 98072.53 |  |  | 0.01 | vom Investment
Lease costs | €/a | 6930 |  |  | 550 | €/MW
Annual financial statements, tax advice | €/a | 9900 |  |  | 1650 | €/WEA
insurance | €/a | 0 |  |  | 0 | €/WEA | Bauherren-, Betreiberhaftpflicht; Maschinen-, MBU-Versicherung
Operational management | €/a | 6000
Dismantling guarantee Reserves | €/a | 8000 |  |  |  | Ziel 600.000€ nach 20 Jahren 15MW x 40.000 €
Own consumption | €/a | 9900 |  |  | 1650 | €/WEA
Hamster
Yield loss farmer (0.4 ha)Wheat | €/a | 156.7724 |  | 0.4 | 4.026 | t/ha | Weizenpreis | 97.35 | €/t
Yield loss farmer (0.4 ha) Barley | €/a | 95.832 |  | 0.4 | 3.025 | t/ha | Gerstepreis | 79.2 | €/t
Hamster Observation | €/a | 2000
Miscellaneous | €/a | 1650 |  |  | 275 | €/WEA
Operating costs |  | 105000 | Euro
taxes
Trade tax
tax-free amount | € | 24500
Tax rate |  | 3.5%
Share of Nentzelsrode |  | 70%
Share of management in Gujarat |  | 30%
Rate of assessment Nentzelsrode |  | 357%
Rate of assessment of the management in Gujarat |  | 270%

## Grafiken
|  |  | Eigenkapital | 27.27%
|  |  | Fremdkapital | 72.73%
Spalte1 | Spalte2 | Spalte3
WEA, inkl. Trafo, Transport, Montage, Fundament | € | 24000000
Stellflächen | € | 500000
Wegebau | € | 140000
Verkabelung Intern und Extern | € | 526200
Übergabestion | € | 100000
Windgutachten | € | 120000
Schallgutachten | € | 15000
Bodengutachten | € | 20000
Notar und Rechtskosten | € | 50000
Projektierung | € | 300000
Baugenehmigung | € | 25000
Abnahmegutachten | € | 20000
Faunistisches Gutachten | € | 25000
Umsiedelung Hamster | € | 5000
Ausgleichsflächen Hamster | € | 2800
Sonstige Kosten( Ausgleichsmaßnahmen, Dienstbarkeiten usw.) | € | 929350
Gesamt | € | 26778350
Spalte1 | Spalte2 | Spalte3
Wartung (Vollwartungsvertrag) | €/a | 401675.25
Pachtkosten | €/a | 150000
Jahresabschluss, Steuerberatung | €/a | 15000
Versicherungen | €/a | 125000
Betriebsführung | €/a | 12000
Rückbaubürgschaft Rücklagen | €/a | 30000
Eigenverbrauch | €/a | 15000
Kosten Hamster | €/a | 2835.06
Sonstige | €/a | 25000
Betriebskosten | Euro | 776510.306
Spalte1 | Spalte2 | Spalte3
Investitionsvolumen | 26778350 | EUR
Jährlicher Energieertrag | 38168112.6 | kWh
Einspeisevergütung | 0.033 | EUR
Projektdauer | 20 | Jahre
NPV | 779461.9174 | EUR
IRR | 5.723%
Min. DSCR | 1.1004
ADSCR | 1.3204