## Parameters
Input - Parameter |  |  |  | Resultate
|  | Einheiten |  |  |  | Einheit
Case - Option | Base Case |  |  | NPV | 4264327.8188 | EUR
|  |  |  | NPV costs | -5877098.6628 | EUR
Number of WT | 6 | Stück |  | NPV kWh | 572236283.5975 | EUR
Installed output (Per WT) | 2100 | kWp |  | IRR | 19.36%
Total output | 12600 | kWp |  | LEC | 0.028897 | EUR
Gross energy yield | 39026700 | kWh/a |  | Min. DSCR | 1.6429
Cable and transformer losses | 2.2% |  |  | ADSCR | 1.7019
Bat losses | 0%
Collateral (Damage) | 0%
Total losses | 2.2%
Net energy yield | 38168112.6 | kWh
Site quality | 71.04% |  |  | GuV
Term Initial tariff | 22 | a
Feed-in tariff (start) | 0.041 | EUR/kWh | 3.61 Rs/kwh |  | Einheiten |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
|  |  |  | Income | EUR (nominal) |  | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166
|  |  |  | Operating costs | EUR (nominal) |  | -540096.1945 | -551799.0804 | -563853.0528 | -426268.6444 | -439056.7037 | -452228.4048 | -465795.2569 | -479769.1146 | -494162.1881 | -508987.0537 | -524256.6653 | -539984.3653 | -556183.8963 | -572869.4131 | -590055.4955 | -607757.1604 | -625989.8752 | -644769.5715 | -664112.6586 | -684036.0384
|  |  |  | EBITDA | EUR (nominal) |  | 1024796.4221 | 1013093.5362 | 1001039.5638 | 1138623.9722 | 1125835.9129 | 1112664.2118 | 1099097.3597 | 1085123.502 | 1070730.4285 | 1055905.5629 | 1040635.9513 | 1024908.2513 | 1008708.7203 | 992023.2035 | 974837.1211 | 957135.4562 | 938902.7414 | 920123.0451 | 900779.958 | 880856.5782
Investment |  |  |  | Depreciation and amortization | EUR (nominal) |  | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
Total investment costs |  | EUR |  | EBIT | EUR (nominal) |  | 263455.6364 | 251752.7505 | 239698.7781 | 377283.1865 | 364495.1272 | 351323.4261 | 337756.5739 | 323782.7162 | 309389.6428 | 294564.7772 | 279295.1655 | 263567.4656 | 247367.9346 | 230682.4177 | 974837.1211 | 957135.4562 | 938902.7414 | 920123.0451 | 900779.958 | 880856.5782
| -10658771 |  |  | Net financial income | EUR (nominal) |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
Total operating costs | -378734.1694 | EUR |  | EBT | EUR (nominal) |  | 30888.3097 | 19185.4239 | 7131.4514 | 151556.0754 | 152448.447 | 152957.1769 | 153070.7557 | 152777.329 | 152064.6865 | 150920.2519 | 149331.0712 | 147283.8023 | 144764.7023 | 141759.6164 | 899594.7507 | 895573.5168 | 891021.2329 | 885921.9677 | 880259.3115 | 874016.3627
|  |  |  | Taxes | EUR (nominal) |  | -994.8621 | 0 | 0 | -15149.9994 | -15253.3494 | -15312.2679 | -15325.4221 | -15291.4389 | -15208.9042 | -15076.3615 | -14892.3105 | -14655.2061 | -14363.4565 | -14015.4225 | -102029.0985 | -101563.3793 | -101036.1566 | -100445.5852 | -99789.7647 | -99066.7375
|  |  |  | Profit after tax | EUR (nominal) |  | 29893.4476 | 19185.4239 | 7131.4514 | 136406.076 | 137195.0976 | 137644.9089 | 137745.3336 | 137485.8901 | 136855.7824 | 135843.8904 | 134438.7607 | 132628.5962 | 130401.2458 | 127744.1939 | 797565.6521 | 794010.1374 | 789985.0764 | 785476.3825 | 780469.5468 | 774949.6252
Finanzierung (
Loan type | Constant Payment
Debt ratio | 72.73%
Equity | 2906526.7777 | EUR |  | Cash-Flow
Term | 17 | Jahre
Interest Bank | 2% |  |  |  | Einheit |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Refinancing | 1%
Interest rate | 3% | India Inflation Rate 1960-2024 ¦ MacroTrends |  | Income | EUR (nominal) |  | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166
Debt capital | 7752244.2223 |  |  | Operating costs | EUR |  | -540096.1945 | -551799.0804 | -563853.0528 | -426268.6444 | -439056.7037 | -452228.4048 | -465795.2569 | -479769.1146 | -494162.1881 | -508987.0537 | -524256.6653 | -539984.3653 | -556183.8963 | -572869.4131 | -590055.4955 | -607757.1604 | -625989.8752 | -644769.5715 | -664112.6586 | -684036.0384
Loss carry forward | Yes |  |  | Trade tax | EUR |  | -994.8621 | 0 | 0 | -15149.9994 | -15253.3494 | -15312.2679 | -15325.4221 | -15291.4389 | -15208.9042 | -15076.3615 | -14892.3105 | -14655.2061 | -14363.4565 | -14015.4225 | -102029.0985 | -101563.3793 | -101036.1566 | -100445.5852 | -99789.7647 | -99066.7375
Risk free rate | 1.15% |  |  | CFADS | EUR |  | 1023801.56 | 1013093.5362 | 1001039.5638 | 1123473.9729 | 1110582.5635 | 1097351.9439 | 1083771.9376 | 1069832.0631 | 1055521.5243 | 1040829.2014 | 1025743.6407 | 1010253.0452 | 994345.2638 | 978007.781 | 872808.0225 | 855572.0768 | 837866.5848 | 819677.4599 | 800990.1933 | 781789.8407
Market risk premium | 5.15% |  |  | interest | EUR |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
beta | 0.3 |  |  | Repayment | EUR |  | 0 | 0 | 0 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366 | -456014.366
Cost of equity | 2.695% |  |  | CFASH | EUR |  | 791234.2333 | 780526.2096 | 768472.2372 | 441732.4957 | 442521.5173 | 442971.3286 | 443071.7533 | 442812.3098 | 442182.2021 | 441170.3101 | 439765.1804 | 437955.0159 | 435727.6655 | 433070.6136 | 341551.2861 | 337995.7714 | 333970.7103 | 329462.0165 | 324455.1808 | 318935.2592
WACC w/ tax | 2.917%
Other
Depreciation period | 14 | Jahre
Inflation | 3%
Discount rate | 2.917%
Project duration | 25 | Jahre
Constant Payment
Annuity
Business tax
tax-free amount | 24500 | €
Tax base | 3.5%
Nentzelsrode share | 70%
Share of municipality of management | 30%
Municipality of location | 357% | IHK Erfurt
Municipality of the management | 470% | IHK Hamburg
Base case | 38168112.6
Base case without security | 38168112.6
Note on C42: Dennis Schneck: http://www.bloomberg.com/markets/rates-bonds/government-bonds/germany/
Note on C43: Dennis Schneck: http://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html

## Kalkulation
Kalkulation |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Einheit
Periode |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Jahr |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Inflation |  | 1 | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061
Erträge
Energie | kWh |  | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6
Einspeisevergütung (Fix für 20 Jahre) | EUR/kWh |  | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041 | 0.041
Total | EUR |  | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 1564892.6166 | 31297852.332
Ausgaben
Investment | EUR | 0 2015: -10658771
Betriebskosten | EUR (nominal) |  | -390096.1945 | -401799.0804 | -413853.0528 | -426268.6444 | -439056.7037 | -452228.4048 | -465795.2569 | -479769.1146 | -494162.1881 | -508987.0537 | -524256.6653 | -539984.3653 | -556183.8963 | -572869.4131 | -590055.4955 | -607757.1604 | -625989.8752 | -644769.5715 | -664112.6586 | -684036.0384
Ausschüttung REC | EUR | 1 2016: -150000; 2 2017: -150000; 3 2018: -150000
Total | EUR (nominal) | -10658771 | -540096.1945 | -551799.0804 | -563853.0528 | -426268.6444 | -439056.7037 | -452228.4048 | -465795.2569 | -479769.1146 | -494162.1881 | -508987.0537 | -524256.6653 | -539984.3653 | -556183.8963 | -572869.4131 | -590055.4955 | -607757.1604 | -625989.8752 | -644769.5715 | -664112.6586 | -684036.0384
EBITDA | EUR | -10658771 | 1024796.4221 | 1013093.5362 | 1001039.5638 | 1138623.9722 | 1125835.9129 | 1112664.2118 | 1099097.3597 | 1085123.502 | 1070730.4285 | 1055905.5629 | 1040635.9513 | 1024908.2513 | 1008708.7203 | 992023.2035 | 974837.1211 | 957135.4562 | 938902.7414 | 920123.0451 | 900779.958 | 880856.5782
Abschreibung | EUR | 0 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EUR | -10658771 | 263455.6364 | 251752.7505 | 239698.7781 | 377283.1865 | 364495.1272 | 351323.4261 | 337756.5739 | 323782.7162 | 309389.6428 | 294564.7772 | 279295.1655 | 263567.4656 | 247367.9346 | 230682.4177 | 974837.1211 | 957135.4562 | 938902.7414 | 920123.0451 | 900779.958 | 880856.5782
Steuer | EUR |  | 994.8621 | 0 | 0 | 15149.9994 | 15253.3494 | 15312.2679 | 15325.4221 | 15291.4389 | 15208.9042 | 15076.3615 | 14892.3105 | 14655.2061 | 14363.4565 | 14015.4225 | 102029.0985 | 101563.3793 | 101036.1566 | 100445.5852 | 99789.7647 | 99066.7375
CFADS | EUR | -10658771 | 1023801.56 | 1013093.5362 | 1001039.5638 | 1123473.9729 | 1110582.5635 | 1097351.9439 | 1083771.9376 | 1069832.0631 | 1055521.5243 | 1040829.2014 | 1025743.6407 | 1010253.0452 | 994345.2638 | 978007.781 | 872808.0225 | 855572.0768 | 837866.5848 | 819677.4599 | 800990.1933 | 781789.8407
Income Statement
EBITAD | EUR |  | 1024796.4221 | 1013093.5362 | 1001039.5638 | 1138623.9722 | 1125835.9129 | 1112664.2118 | 1099097.3597 | 1085123.502 | 1070730.4285 | 1055905.5629 | 1040635.9513 | 1024908.2513 | 1008708.7203 | 992023.2035 | 974837.1211 | 957135.4562 | 938902.7414 | 920123.0451 | 900779.958 | 880856.5782
Zinsen | EUR |  | -232567.3267 | -232567.3267 | -232567.3267 | -225727.1112 | -212046.6802 | -198366.2492 | -184685.8182 | -171005.3873 | -157324.9563 | -143644.5253 | -129964.0943 | -116283.6633 | -102603.2324 | -88922.8014 | -75242.3704 | -61561.9394 | -47881.5084 | -34201.0775 | -20520.6465 | -6840.2155
Abschreibung | EUR |  | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | -761340.7857 | 0 | 0 | 0 | 0 | 0 | 0
PBT | EUR |  | 30888.3097 | 19185.4239 | 7131.4514 | 151556.0754 | 152448.447 | 152957.1769 | 153070.7557 | 152777.329 | 152064.6865 | 150920.2519 | 149331.0712 | 147283.8023 | 144764.7023 | 141759.6164 | 899594.7507 | 895573.5168 | 891021.2329 | 885921.9677 | 880259.3115 | 874016.3627
loss carry forward | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
taxable income | EUR |  | 30888.3097 | 19185.4239 | 7131.4514 | 151556.0754 | 152448.447 | 152957.1769 | 153070.7557 | 152777.329 | 152064.6865 | 150920.2519 | 149331.0712 | 147283.8023 | 144764.7023 | 141759.6164 | 899594.7507 | 895573.5168 | 891021.2329 | 885921.9677 | 880259.3115 | 874016.3627
Steuern
Versteuerbares Einkommen nach Freibetrag | EUR |  | 6388.3097 | 0 | 0 | 127056.0754 | 127948.447 | 128457.1769 | 128570.7557 | 128277.329 | 127564.6865 | 126420.2519 | 124831.0712 | 122783.8023 | 120264.7023 | 117259.6164 | 875094.7507 | 871073.5168 | 866521.2329 | 861421.9677 | 855759.3115 | 849516.3627
Anteil Nentzelsrode (70 %) | EUR |  | 4471.8168 | 0 | 0 | 88939.2527 | 89563.9129 | 89920.0238 | 89999.529 | 89794.1303 | 89295.2806 | 88494.1763 | 87381.7499 | 85948.6616 | 84185.2916 | 82081.7315 | 612566.3255 | 609751.4617 | 606564.8631 | 602995.3774 | 599031.5181 | 594661.4539
Grundbeitrag | EUR |  | 120 | 0 | 0 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 400 | 400
Hebesatz | EUR |  | 558.7535 | 0 | 0 | 11112.9596 | 11191.0109 | 11235.507 | 11245.4411 | 11219.7766 | 11157.4453 | 11057.3473 | 10918.3496 | 10739.2853 | 10518.9522 | 10256.1123 | 76540.1624 | 76188.4451 | 75790.2796 | 75344.2724 | 74848.9882 | 74302.9487
Gewerbesteuer Nentzelsrode | EUR |  | 678.7535 | 0 | 0 | 11412.9596 | 11491.0109 | 11535.507 | 11545.4411 | 11519.7766 | 11457.4453 | 11357.3473 | 11218.3496 | 11039.2853 | 10818.9522 | 10556.1123 | 76940.1624 | 76588.4451 | 76190.2796 | 75744.2724 | 75248.9882 | 74702.9487
Anteil Hamburg (30 %) | EUR |  | 1916.4929 | 0 | 0 | 38116.8226 | 38384.5341 | 38537.1531 | 38571.2267 | 38483.1987 | 38269.406 | 37926.0756 | 37449.3214 | 36835.1407 | 36079.4107 | 35177.8849 | 262528.4252 | 261322.055 | 259956.3699 | 258426.5903 | 256727.7935 | 254854.9088
Grundbeitrag | EUR |  | 135 | 0 | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 280 | 280 | 280 | 280 | 280 | 280
Hebesatz | EUR |  | 181.1086 | 0 | 0 | 3602.0397 | 3627.3385 | 3641.761 | 3644.9809 | 3636.6623 | 3616.4589 | 3584.0141 | 3538.9609 | 3480.9208 | 3409.5043 | 3324.3101 | 24808.9362 | 24694.9342 | 24565.877 | 24421.3128 | 24260.7765 | 24083.7889
Gewerbesteuer Hamburg | EUR |  | 316.1086 | 0 | 0 | 3737.0397 | 3762.3385 | 3776.761 | 3779.9809 | 3771.6623 | 3751.4589 | 3719.0141 | 3673.9609 | 3615.9208 | 3544.5043 | 3459.3101 | 25088.9362 | 24974.9342 | 24845.877 | 24701.3128 | 24540.7765 | 24363.7889
Gewerbesteuer Gesamt | EUR |  | 994.8621 | 0 | 0 | 15149.9994 | 15253.3494 | 15312.2679 | 15325.4221 | 15291.4389 | 15208.9042 | 15076.3615 | 14892.3105 | 14655.2061 | 14363.4565 | 14015.4225 | 102029.0985 | 101563.3793 | 101036.1566 | 100445.5852 | 99789.7647 | 99066.7375
Constant Payment
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7296229.8563 | 6840215.4902 | 6384201.1242 | 5928186.7582 | 5472172.3922 | 5016158.0262 | 4560143.6602 | 4104129.2941 | 3648114.9281 | 3192100.5621 | 2736086.1961 | 2280071.8301 | 1824057.4641 | 1368043.098 | 912028.732 | 456014.366
Repayment | EUR |  | 0 | 0 | 0 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 225727.1112 | 212046.6802 | 198366.2492 | 184685.8182 | 171005.3873 | 157324.9563 | 143644.5253 | 129964.0943 | 116283.6633 | 102603.2324 | 88922.8014 | 75242.3704 | 61561.9394 | 47881.5084 | 34201.0775 | 20520.6465 | 6840.2155
Debt Service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 681741.4772 | 668061.0462 | 654380.6152 | 640700.1843 | 627019.7533 | 613339.3223 | 599658.8913 | 585978.4603 | 572298.0294 | 558617.5984 | 544937.1674 | 531256.7364 | 517576.3054 | 503895.8744 | 490215.4435 | 476535.0125 | 462854.5815
Constant Payment
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7296229.8563 | 6840215.4902 | 6384201.1242 | 5928186.7582 | 5472172.3922 | 5016158.0262 | 4560143.6602 | 4104129.2941 | 3648114.9281 | 3192100.5621 | 2736086.1961 | 2280071.8301 | 1824057.4641 | 1368043.098 | 912028.732 | 456014.366
Repayment | EUR |  |  |  |  | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366 | 456014.366
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 225727.1112 | 212046.6802 | 198366.2492 | 184685.8182 | 171005.3873 | 157324.9563 | 143644.5253 | 129964.0943 | 116283.6633 | 102603.2324 | 88922.8014 | 75242.3704 | 61561.9394 | 47881.5084 | 34201.0775 | 20520.6465 | 6840.2155
Debt Service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 681741.4772 | 668061.0462 | 654380.6152 | 640700.1843 | 627019.7533 | 613339.3223 | 599658.8913 | 585978.4603 | 572298.0294 | 558617.5984 | 544937.1674 | 531256.7364 | 517576.3054 | 503895.8744 | 490215.4435 | 476535.0125 | 462854.5815 | -20231.5561
Annuity
Opening Balance | EUR |  | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7752244.2223 | 7396008.9919 | 7029086.7047 | 6651156.7488 | 6261888.8942 | 5860943.004 | 5447968.7371 | 5022605.2422 | 4584480.8425 | 4133212.7107 | 3668406.535 | 3189656.174 | 2696543.3022 | 2188637.0443 | 1665493.5986 | 1126655.8495 | 571652.968
Repayment | EUR |  |  |  |  | 356235.2304 | 366922.2873 | 377929.9559 | 389267.8546 | 400945.8902 | 412974.2669 | 425363.4949 | 438124.3998 | 451268.1317 | 464806.1757 | 478750.361 | 493112.8718 | 507906.258 | 523143.4457 | 538837.7491 | 555002.8815 | 571652.968
Interest | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 232567.3267 | 221880.2698 | 210872.6011 | 199534.7025 | 187856.6668 | 175828.2901 | 163439.0621 | 150678.1573 | 137534.4253 | 123996.3813 | 110052.1961 | 95689.6852 | 80896.2991 | 65659.1113 | 49964.808 | 33799.6755 | 17149.589
Debt service | EUR |  | 232567.3267 | 232567.3267 | 232567.3267 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 588802.557 | 66126.8552
Cash Flow after debt service | EUR | -2906526.7777 | 791234.2333 | 780526.2096 | 768472.2372 | 441732.4957 | 442521.5173 | 442971.3286 | 443071.7533 | 442812.3098 | 442182.2021 | 441170.3101 | 439765.1804 | 437955.0159 | 435727.6655 | 433070.6136 | 341551.2861 | 337995.7714 | 333970.7103 | 329462.0165 | 324455.1808 | 318935.2592
Cash Flow Genossenschaft |  |  | 791234.2333 | 780526.2096 | 768472.2372 | 441732.4957 | 442521.5173 | 442971.3286 | 443071.7533 | 442812.3098 | 442182.2021 | 441170.3101 | 439765.1804 | 437955.0159 | 435727.6655 | 433070.6136 | 341551.2861 | 337995.7714 | 333970.7103 | 329462.0165 | 324455.1808 | 318935.2592
DSCR |  |  | 4.4022 | 4.3561 | 4.3043 | 1.6479 | 1.6624 | 1.6769 | 1.6915 | 1.7062 | 1.7209 | 1.7357 | 1.7505 | 1.7653 | 1.78 | 1.7947 | 1.6429 | 1.653 | 1.6628 | 1.6721 | 1.6809 | 1.6891
ADSCR |  | 0 2015: 1.7019
Betriebskosten für Grafik |  |  | 540096.1945 | 551799.0804 | 563853.0528 | 426268.6444 | 439056.7037 | 452228.4048 | 465795.2569 | 479769.1146 | 494162.1881 | 508987.0537 | 524256.6653 | 539984.3653 | 556183.8963 | 572869.4131 | 590055.4955 | 607757.1604 | 625989.8752 | 644769.5715 | 664112.6586 | 684036.0384

## Daten
Input
Project / Plant
Nentzelsrode project
Type of company Operator | GmbH
Type of plant | Suzlon S97 2100KW |  |  |  | Gross energy yield | kWh/a | 39924500
Number of plants (WT) |  | 6
Installed capacity | MW | 2.1 |  |  | Discount for line & transformer losses |  | 2.2%
Commissioning |  | 2025-01-01 |  |  | Safety discount |  | 0%
Price per plant | € | 1470000
Reference yield per WT | kWh | 6598300 |  |  | Net energy yield | kWh/a | 39046161
Remuneration
Reference energy yield | kWh | 39589800
Energy yield | kWh/a | 39046161
Energy yield | kWh/5a | 195230805
Site quality |  | 493.1%
Term Initial remuneration | a | -71.252
Degression |  | 1.5% |  |  | Einnahmen Grundvergütung | €/a | 1764886.4772
SDL bonus | €cent/kWh | 0 |  |  | Einnahmen Anfangsvergütung | €/a | 3233022.1308
Repowering bonus | €cent/kWh | 0
Initial remuneration | €cent/kWh | 8.28
Initial tariff incl. bonuses | €cent/kWh | 8.28
Basic remuneration | €cent/kWh | 4.52
investment
Berechnung
WTG, incl. transformer, transportation, assembly, foundation | € | 8820000
|  |  |  | Anzahl | Einzelpreis
Foundation | € | 231000 |  | 6 | 38500 | € /WEA
Road construction | € | 0 |  | 0 | 26950 | €/km
Easement for road construction | € | 0 |  | 0 | 2888 | €/Flurstück
Internal and external cabling | € | 199974 |  | 6 | 33329 | €/km | 200 Rs
Cabling land use | € | 798 |  | 7 | 114 | €/Flurstück
Cabling land use | € | 867000 |  | 3000 | 289 | €/Meter
Rotor painting | € | 750 |  | 1 | 750 | €/Stck.
Transfer station | € | 38500 |  | 1 | 38500 | €/Stck.
Grid connection | € | 770 |  | 1 | 770 | € /Anschluß
Wind expertise | € | 46200 |  | 1 | 46200 | €/Stck.
Noise survey | € | 5775 |  | 1 | 5775 | €/Stck.
Soil expertise | € | 7700 |  | 1 | 7700 | €/Stck.
Faunistic expertise | € | 9625 |  | 1 | 9625 | €/Stck.
Hamster relocation | € | 1926 |  | 2 | 963 | €/Stck.
Hamster compensation areas | € | 1078 |  | 2 | 539 | €/Stck.
Acceptance report | € | 7700 |  | 1 | 7700 | €/Stck.
Notary and legal costs | € | 19250 |  | 1 | 19250 | €/Stck.
SDL expert opinion | € | 3850 |  | 1 | 3850 | €/Stck.
Project planning | € | 60000
Building permit | € | 9625 |  | 1 | 9625 | €/Stck.
Compensatory measures | € | 57750 |  | 5 | 11550 | €/WEA
Other costs | € | 38500
Pre-financing
Bank structuring fee | € | 115500
Guarantee commission | €
Reserve | € | 115500
Total purchase price | € | 10658771
Specific purchase price | €/kWh | 0.27298
Depreciable investment costs | € | 10658771
Financing
Equity share | 27.27% | € | 2906646.8517
Debt capital share | 72.73% | € | 7752124.1483
KfW Program 270 Renewable Energies - “Standard” program section
Amount | € | 7752124.1483
Term | a | 14
Interest Bank |  | 3%
Refinancing |  | 2.5%
Repayment-free years | a | 3
Disbursement date |  | 2015-01-01
Operating costs
Maintenance (full maintenance contract) | €/a | 159881.565 |  |  | 0.015 | vom Investment
Lease costs | €/a | 69300 |  |  | 5500 | €/MW
Annual financial statements, tax advice | €/a | 9900 |  |  | 1650 | €/WEA
insurance | €/a | 82500 |  |  | 13750 | €/WEA | Bauherren-, Betreiberhaftpflicht; Maschinen-, MBU-Versicherung
Operational management | €/a | 12000
Dismantling guarantee Reserves | €/a | 16500 |  |  |  | Ziel 600.000€ nach 20 Jahren 15MW x 40.000 €
Own consumption | €/a | 9900 |  |  | 1650 | €/WEA
Hamster
Yield loss farmer (0.4 ha)Wheat | €/a | 156.7724 |  | 0.4 | 4.026 | t/ha | Weizenpreis | 97.35 | €/t
Yield loss farmer (0.4 ha) Barley | €/a | 95.832 |  | 0.4 | 3.025 | t/ha | Gerstepreis | 79.2 | €/t
Hamster Observation | €/a | 2000
Miscellaneous | €/a | 16500 |  |  | 2750 | €/WEA
Operating costs |  | 378734.1694 | Euro
taxes
Trade tax
tax-free amount | € | 24500
Tax rate |  | 3.5%
Share of Nentzelsrode |  | 70%
Share of management in Gujarat |  | 30%
Rate of assessment Nentzelsrode |  | 357%
Rate of assessment of the management in Gujarat |  | 270%

## Grafiken
|  |  | Eigenkapital | 27.27%
|  |  | Fremdkapital | 72.73%
Spalte1 | Spalte2 | Spalte3
WEA, inkl. Trafo, Transport, Montage, Fundament | € | 24000000
Stellflächen | € | 500000
Wegebau | € | 140000
Verkabelung Intern und Extern | € | 526200
Übergabestion | € | 100000
Windgutachten | € | 120000
Schallgutachten | € | 15000
Bodengutachten | € | 20000
Notar und Rechtskosten | € | 50000
Projektierung | € | 300000
Baugenehmigung | € | 25000
Abnahmegutachten | € | 20000
Faunistisches Gutachten | € | 25000
Umsiedelung Hamster | € | 5000
Ausgleichsflächen Hamster | € | 2800
Sonstige Kosten( Ausgleichsmaßnahmen, Dienstbarkeiten usw.) | € | 929350
Gesamt | € | 26778350
Spalte1 | Spalte2 | Spalte3
Wartung (Vollwartungsvertrag) | €/a | 401675.25
Pachtkosten | €/a | 150000
Jahresabschluss, Steuerberatung | €/a | 15000
Versicherungen | €/a | 125000
Betriebsführung | €/a | 12000
Rückbaubürgschaft Rücklagen | €/a | 30000
Eigenverbrauch | €/a | 15000
Kosten Hamster | €/a | 2835.06
Sonstige | €/a | 25000
Betriebskosten | Euro | 776510.306
Spalte1 | Spalte2 | Spalte3
Investitionsvolumen | 26778350 | EUR
Jährlicher Energieertrag | 38168112.6 | kWh
Einspeisevergütung | 0.041 | EUR
Projektdauer | 20 | Jahre
NPV | 779461.9174 | EUR
IRR | 5.723%
Min. DSCR | 1.1004
ADSCR | 1.3204