## Parameters
Input - Parameter |  |  |  |  | Resultate
|  | Einheiten |  |  |  |  | Einheit
Case - Option | Base Case |  |  |  | NPV | 4658659.4773 | EUR
[5 empty] | NPV costs | -530451.9193 | EUR
Number of WT | 6 | Stück |  |  | NPV kWh | 572236283.5975 | EUR
Installed output (Per WT) | 2100 | kWp |  |  | IRR | 21.97%
Total output | 12600 | kWp |  |  | LEC | 0.018065 | EUR
Gross energy yield | 39026700 | kWh/a |  |  | Min. DSCR | 1.5573
Cable and transformer losses | 2.2% |  |  |  | ADSCR | 1.7855
Bat losses | 0%
Collateral (Damage) | 0%
Total losses | 2.2%
Net energy yield | 38168112.6 | kWh
Site quality | 71.04% |  |  |  | GuV
Term Initial tariff | 22 | a
Feed-in tariff (start) | 0.032 | EUR/kWh | 2.84 Rs/kwh | https://www.mercomindia.com/gujarat-tariff-wind-projects-2027 |  | Einheiten |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
[5 empty] | Income | EUR (nominal) |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032
[5 empty] | Operating costs | EUR (nominal) |  | -258150 | -261394.5 | -264736.335 | -118178.4251 | -121723.7778 | -125375.4911 | -129136.7559 | -133010.8585 | -137001.1843 | -141111.2198 | -145344.5564 | -149704.8931 | -154196.0399 | -158821.9211 | -163586.5787 | -168494.1761 | -173549.0014 | -178755.4714 | -184118.1356 | -189641.6796
[5 empty] | EBITDA | EUR (nominal) |  | 963229.6032 | 959985.1032 | 956643.2682 | 1103201.1782 | 1099655.8254 | 1096004.1121 | 1092242.8473 | 1088368.7447 | 1084378.4189 | 1080268.3834 | 1076035.0468 | 1071674.7101 | 1067183.5633 | 1062557.6821 | 1057793.0245 | 1052885.4271 | 1047830.6018 | 1042624.1318 | 1037261.4676 | 1031737.9236
Investment |  |  |  |  | Depreciation and amortization | EUR (nominal) |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
Total investment costs |  | EUR |  |  | EBIT | EUR (nominal) |  | 262711.5318 | 259467.0318 | 256125.1968 | 402683.1067 | 399137.754 | 395486.0406 | 391724.7759 | 387850.6732 | 383860.3475 | 379750.3119 | 375516.9753 | 371156.6387 | 366665.4919 | 362039.6107 | 1057793.0245 | 1052885.4271 | 1047830.6018 | 1042624.1318 | 1037261.4676 | 1031737.9236
| -9807253 |  |  |  | Net financial income | EUR (nominal) |  | -213987.7676 | -213987.7676 | -213987.7676 | -207694.0098 | -195106.494 | -182518.9783 | -169931.4625 | -157343.9468 | -144756.4311 | -132168.9153 | -119581.3996 | -106993.8838 | -94406.3681 | -81818.8523 | -69231.3366 | -56643.8208 | -44056.3051 | -31468.7894 | -18881.2736 | -6293.7579
Total operating costs | -105000 | EUR |  |  | EBT | EUR (nominal) |  | 48723.7641 | 45479.2641 | 42137.4291 | 194989.0969 | 204031.2599 | 212967.0623 | 221793.3134 | 230506.7264 | 239103.9164 | 247581.3966 | 255935.5758 | 264162.7548 | 272259.1238 | 280220.7583 | 988561.6879 | 996241.6062 | 1003774.2967 | 1011155.3424 | 1018380.194 | 1025444.1657
[5 empty] | Taxes | EUR (nominal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -76780.6727 | -79248.8264 | -81677.7371 | -84066.2275 | -296568.5064 | -298872.4819 | -301132.289 | -303346.6027 | -305514.0582 | -307633.2497
[5 empty] | Profit after tax | EUR (nominal) |  | 48723.7641 | 45479.2641 | 42137.4291 | 194989.0969 | 204031.2599 | 212967.0623 | 221793.3134 | 230506.7264 | 239103.9164 | 247581.3966 | 179154.903 | 184913.9284 | 190581.3866 | 196154.5308 | 691993.1815 | 697369.1244 | 702642.0077 | 707808.7397 | 712866.1358 | 717810.916
Finanzierung (
Loan type | Constant Payment
Debt ratio | 72.73%
Equity | 2674327.4117 | EUR |  |  | Cash-Flow
Term | 17 | Jahre
Interest Bank | 2% |  |  |  |  | Einheit |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Refinancing | 1%
Interest rate | 3% | India Inflation Rate 1960-2024 ¦ MacroTrends |  |  | Income | EUR (nominal) |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032
Debt capital | 7132925.5883 |  |  |  | Operating costs | EUR |  | -258150 | -261394.5 | -264736.335 | -118178.4251 | -121723.7778 | -125375.4911 | -129136.7559 | -133010.8585 | -137001.1843 | -141111.2198 | -145344.5564 | -149704.8931 | -154196.0399 | -158821.9211 | -163586.5787 | -168494.1761 | -173549.0014 | -178755.4714 | -184118.1356 | -189641.6796
Loss carry forward | Yes |  |  |  | Trade tax | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -76780.6727 | -79248.8264 | -81677.7371 | -84066.2275 | -296568.5064 | -298872.4819 | -301132.289 | -303346.6027 | -305514.0582 | -307633.2497
Risk free rate | 1.15% |  |  |  | CFADS | EUR |  | 963229.6032 | 959985.1032 | 956643.2682 | 1103201.1782 | 1099655.8254 | 1096004.1121 | 1092242.8473 | 1088368.7447 | 1084378.4189 | 1080268.3834 | 999254.374 | 992425.8836 | 985505.8262 | 978491.4546 | 761224.5181 | 754012.9452 | 746698.3128 | 739277.529 | 731747.4094 | 724104.6739
Market risk premium | 5.15% |  |  |  | interest | EUR |  | -213987.7676 | -213987.7676 | -213987.7676 | -207694.0098 | -195106.494 | -182518.9783 | -169931.4625 | -157343.9468 | -144756.4311 | -132168.9153 | -119581.3996 | -106993.8838 | -94406.3681 | -81818.8523 | -69231.3366 | -56643.8208 | -44056.3051 | -31468.7894 | -18881.2736 | -6293.7579
beta | 0.3 |  |  |  | Repayment | EUR |  | 0 | 0 | 0 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581
Cost of equity | 2.695% |  |  |  | CFASH | EUR |  | 749241.8356 | 745997.3356 | 742655.5006 | 475923.3102 | 484965.4732 | 493901.2756 | 502727.5267 | 511440.9397 | 520038.1297 | 528515.6099 | 460089.1163 | 465848.1417 | 471515.5999 | 477088.7441 | 272409.3234 | 277785.2662 | 283058.1496 | 288224.8816 | 293282.2777 | 298227.0578
WACC w/ tax | 2.917%
Other
Depreciation period | 14 | Jahre
Inflation | 3%
Discount rate | 2.917%
Project duration | 25 | Jahre
Constant Payment
Annuity
Business tax
tax-free amount | 24500 | €
Tax base | 3.5%
Nentzelsrode share | 70%
Share of municipality of management | 30%
Municipality of location | 357% | IHK Erfurt
Municipality of the management | 470% | IHK Hamburg
Base case | 38168112.6
Base case without security | 38168112.6
Note on C42: Dennis Schneck: http://www.bloomberg.com/markets/rates-bonds/government-bonds/germany/
Note on C43: Dennis Schneck: http://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html

## Kalkulation
Kalkulation |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Einheit
Periode |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Jahr |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Inflation |  | 1 | 1.03 | 1.0609 | 1.0927 | 1.1255 | 1.1593 | 1.1941 | 1.2299 | 1.2668 | 1.3048 | 1.3439 | 1.3842 | 1.4258 | 1.4685 | 1.5126 | 1.558 | 1.6047 | 1.6528 | 1.7024 | 1.7535 | 1.8061
Erträge
Energie | kWh |  | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6
Einspeisevergütung (Fix für 20 Jahre) | EUR/kWh |  | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032
Total | EUR |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 24427592.064
Ausgaben
Investment | EUR | 0 2015: -9807253
Betriebskosten | EUR (nominal) |  | -108150 | -111394.5 | -114736.335 | -118178.4251 | -121723.7778 | -125375.4911 | -129136.7559 | -133010.8585 | -137001.1843 | -141111.2198 | -145344.5564 | -149704.8931 | -154196.0399 | -158821.9211 | -163586.5787 | -168494.1761 | -173549.0014 | -178755.4714 | -184118.1356 | -189641.6796
Ausschüttung REC | EUR | 1 2016: -150000; 2 2017: -150000; 3 2018: -150000
Total | EUR (nominal) | -9807253 | -258150 | -261394.5 | -264736.335 | -118178.4251 | -121723.7778 | -125375.4911 | -129136.7559 | -133010.8585 | -137001.1843 | -141111.2198 | -145344.5564 | -149704.8931 | -154196.0399 | -158821.9211 | -163586.5787 | -168494.1761 | -173549.0014 | -178755.4714 | -184118.1356 | -189641.6796
EBITDA | EUR | -9807253 | 963229.6032 | 959985.1032 | 956643.2682 | 1103201.1782 | 1099655.8254 | 1096004.1121 | 1092242.8473 | 1088368.7447 | 1084378.4189 | 1080268.3834 | 1076035.0468 | 1071674.7101 | 1067183.5633 | 1062557.6821 | 1057793.0245 | 1052885.4271 | 1047830.6018 | 1042624.1318 | 1037261.4676 | 1031737.9236
Abschreibung | EUR | 0 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EUR | -9807253 | 262711.5318 | 259467.0318 | 256125.1968 | 402683.1067 | 399137.754 | 395486.0406 | 391724.7759 | 387850.6732 | 383860.3475 | 379750.3119 | 375516.9753 | 371156.6387 | 366665.4919 | 362039.6107 | 1057793.0245 | 1052885.4271 | 1047830.6018 | 1042624.1318 | 1037261.4676 | 1031737.9236
Steuer | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76780.6727 | 79248.8264 | 81677.7371 | 84066.2275 | 296568.5064 | 298872.4819 | 301132.289 | 303346.6027 | 305514.0582 | 307633.2497
CFADS | EUR | -9807253 | 963229.6032 | 959985.1032 | 956643.2682 | 1103201.1782 | 1099655.8254 | 1096004.1121 | 1092242.8473 | 1088368.7447 | 1084378.4189 | 1080268.3834 | 999254.374 | 992425.8836 | 985505.8262 | 978491.4546 | 761224.5181 | 754012.9452 | 746698.3128 | 739277.529 | 731747.4094 | 724104.6739
Income Statement
EBITAD | EUR |  | 963229.6032 | 959985.1032 | 956643.2682 | 1103201.1782 | 1099655.8254 | 1096004.1121 | 1092242.8473 | 1088368.7447 | 1084378.4189 | 1080268.3834 | 1076035.0468 | 1071674.7101 | 1067183.5633 | 1062557.6821 | 1057793.0245 | 1052885.4271 | 1047830.6018 | 1042624.1318 | 1037261.4676 | 1031737.9236
Zinsen | EUR |  | -213987.7676 | -213987.7676 | -213987.7676 | -207694.0098 | -195106.494 | -182518.9783 | -169931.4625 | -157343.9468 | -144756.4311 | -132168.9153 | -119581.3996 | -106993.8838 | -94406.3681 | -81818.8523 | -69231.3366 | -56643.8208 | -44056.3051 | -31468.7894 | -18881.2736 | -6293.7579
Abschreibung | EUR |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
PBT | EUR |  | 48723.7641 | 45479.2641 | 42137.4291 | 194989.0969 | 204031.2599 | 212967.0623 | 221793.3134 | 230506.7264 | 239103.9164 | 247581.3966 | 255935.5758 | 264162.7548 | 272259.1238 | 280220.7583 | 988561.6879 | 996241.6062 | 1003774.2967 | 1011155.3424 | 1018380.194 | 1025444.1657
loss carry forward | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
taxable income | EUR |  | 48723.7641 | 45479.2641 | 42137.4291 | 194989.0969 | 204031.2599 | 212967.0623 | 221793.3134 | 230506.7264 | 239103.9164 | 247581.3966 | 255935.5758 | 264162.7548 | 272259.1238 | 280220.7583 | 988561.6879 | 996241.6062 | 1003774.2967 | 1011155.3424 | 1018380.194 | 1025444.1657
Steuern
Versteuerbares Einkommen nach Freibetrag | EUR
Anteil Nentzelsrode (70 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Nentzelsrode | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Anteil Hamburg (30 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Hamburg | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Gesamt | EUR | 11 2026: 76780.6727; 12 2027: 79248.8264; 13 2028: 81677.7371; 14 2029: 84066.2275; 15 2030: 296568.5064; 16 2031: 298872.4819; 17 2032: 301132.289; 18 2033: 303346.6027; 19 2034: 305514.0582; 20 2035: 307633.2497
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  | 0 | 0 | 0 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 207694.0098 | 195106.494 | 182518.9783 | 169931.4625 | 157343.9468 | 144756.4311 | 132168.9153 | 119581.3996 | 106993.8838 | 94406.3681 | 81818.8523 | 69231.3366 | 56643.8208 | 44056.3051 | 31468.7894 | 18881.2736 | 6293.7579
Debt Service | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 627277.8679 | 614690.3522 | 602102.8364 | 589515.3207 | 576927.8049 | 564340.2892 | 551752.7734 | 539165.2577 | 526577.742 | 513990.2262 | 501402.7105 | 488815.1947 | 476227.679 | 463640.1632 | 451052.6475 | 438465.1318 | 425877.616
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  |  |  |  | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 207694.0098 | 195106.494 | 182518.9783 | 169931.4625 | 157343.9468 | 144756.4311 | 132168.9153 | 119581.3996 | 106993.8838 | 94406.3681 | 81818.8523 | 69231.3366 | 56643.8208 | 44056.3051 | 31468.7894 | 18881.2736 | 6293.7579
Debt Service | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 627277.8679 | 614690.3522 | 602102.8364 | 589515.3207 | 576927.8049 | 564340.2892 | 551752.7734 | 539165.2577 | 526577.742 | 513990.2262 | 501402.7105 | 488815.1947 | 476227.679 | 463640.1632 | 451052.6475 | 438465.1318 | 425877.616 | -18615.2783
Annuity
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6805149.6157 | 6467540.3638 | 6119802.8345 | 5761633.1792 | 5392718.4343 | 5012736.2471 | 4621354.5942 | 4218231.4918 | 3803014.6962 | 3375341.3968 | 2934837.8985 | 2481119.2951 | 2013789.1337 | 1532439.0674 | 1036648.4992 | 525984.2139
Repayment | EUR |  |  |  |  | 327775.9726 | 337609.2518 | 347737.5294 | 358169.6552 | 368914.7449 | 379982.1873 | 391381.6529 | 403123.1025 | 415216.7955 | 427673.2994 | 440503.4984 | 453718.6033 | 467330.1614 | 481350.0663 | 495790.5683 | 510664.2853 | 525984.2139
Interest | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 213987.7676 | 204154.4885 | 194026.2109 | 183594.085 | 172848.9954 | 161781.553 | 150382.0874 | 138640.6378 | 126546.9448 | 114090.4409 | 101260.2419 | 88045.137 | 74433.5789 | 60413.674 | 45973.172 | 31099.455 | 15779.5264
Debt service | EUR |  | 213987.7676 | 213987.7676 | 213987.7676 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 541763.7403 | 60844.0503
Cash Flow after debt service | EUR | -2674327.4117 | 749241.8356 | 745997.3356 | 742655.5006 | 475923.3102 | 484965.4732 | 493901.2756 | 502727.5267 | 511440.9397 | 520038.1297 | 528515.6099 | 460089.1163 | 465848.1417 | 471515.5999 | 477088.7441 | 272409.3234 | 277785.2662 | 283058.1496 | 288224.8816 | 293282.2777 | 298227.0578
Cash Flow Genossenschaft |  |  | 749241.8356 | 745997.3356 | 742655.5006 | 475923.3102 | 484965.4732 | 493901.2756 | 502727.5267 | 511440.9397 | 520038.1297 | 528515.6099 | 460089.1163 | 465848.1417 | 471515.5999 | 477088.7441 | 272409.3234 | 277785.2662 | 283058.1496 | 288224.8816 | 293282.2777 | 298227.0578
DSCR |  |  | 4.5013 | 4.4862 | 4.4706 | 1.7587 | 1.789 | 1.8203 | 1.8528 | 1.8865 | 1.9215 | 1.9579 | 1.8533 | 1.8847 | 1.9174 | 1.9515 | 1.5573 | 1.5833 | 1.6105 | 1.639 | 1.6689 | 1.7003
ADSCR |  | 0 2015: 1.7855
Betriebskosten für Grafik |  |  | 258150 | 261394.5 | 264736.335 | 118178.4251 | 121723.7778 | 125375.4911 | 129136.7559 | 133010.8585 | 137001.1843 | 141111.2198 | 145344.5564 | 149704.8931 | 154196.0399 | 158821.9211 | 163586.5787 | 168494.1761 | 173549.0014 | 178755.4714 | 184118.1356 | 189641.6796

## Daten
Input
Project / Plant
Nentzelsrode project
Type of company Operator | GmbH
Type of plant | Suzlon S97 2100KW |  |  |  | Gross energy yield | kWh/a | 39924500
Number of plants (WT) |  | 6
Installed capacity | MW | 2.1 |  |  | Discount for line & transformer losses |  | 2.2%
Commissioning |  | 2025-01-01 |  |  | Safety discount |  | 0%
Price per plant | € | 1166666 | Ref. PDF
Reference yield per WT | kWh | 6598300 |  |  | Net energy yield | kWh/a | 39046161
Remuneration
Reference energy yield | kWh | 39589800
Energy yield | kWh/a | 39046161
Energy yield | kWh/5a | 195230805
Site quality |  | 493.1%
Term Initial remuneration | a | -71.252
Degression |  | 1.5% |  |  | Einnahmen Grundvergütung | €/a | 1764886.4772
SDL bonus | €cent/kWh | 0 |  |  | Einnahmen Anfangsvergütung | €/a | 3233022.1308
Repowering bonus | €cent/kWh | 0
Initial remuneration | €cent/kWh | 8.28
Initial tariff incl. bonuses | €cent/kWh | 8.28
Basic remuneration | €cent/kWh | 4.52
investment
Berechnung
WTG, incl. transformer, transportation, assembly, foundation | € | 6999996
|  |  |  | Anzahl | Einzelpreis
Foundation | € | 231000 |  | 6 | 38500 | € /WEA
Road construction | € | 0 |  | 0 | 26950 | €/km
Easement for road construction | € | 0 |  | 0 | 2888 | €/Flurstück
Internal and external cabling | € | 139974 |  | 6 | 23329 | €/km | 200 Rs
Cabling land use | € | 798 |  | 7 | 114 | €/Flurstück
Cabling land use | € | 1960000 |  | 20000 | 98 | €/Meter
Rotor painting | € | 750 |  | 1 | 750 | €/Stck.
Transfer station | € | 28500 |  | 1 | 28500 | €/Stck.
Grid connection | € | 770 |  | 1 | 770 | € /Anschluß
Wind expertise | € | 16200 |  | 1 | 16200 | €/Stck.
Noise survey | € | 5775 |  | 1 | 5775 | €/Stck.
Soil expertise | € | 7700 |  | 1 | 7700 | €/Stck.
Faunistic expertise | € | 7625 |  | 1 | 7625 | €/Stck.
Hamster relocation | € | 1926 |  | 2 | 963 | €/Stck.
Hamster compensation areas | € | 1078 |  | 2 | 539 | €/Stck.
Acceptance report | € | 7700 |  | 1 | 7700 | €/Stck.
Notary and legal costs | € | 15250 |  | 1 | 15250 | €/Stck.
SDL expert opinion | € | 3850 |  | 1 | 3850 | €/Stck.
Project planning | € | 50000
Building permit | € | 11111 |  | 1 | 11111 | €/Stck.
Compensatory measures | € | 47750 |  | 5 | 9550 | €/WEA
Other costs | € | 38500
Pre-financing
Bank structuring fee | € | 115500
Guarantee commission | €
Reserve | € | 115500
Total purchase price | € | 9807253 | GERC Updates Regulations for Small Wind Projects - Asia Pacific ¦ Energetica India Magazine
Specific purchase price | €/kWh | 0.25117
Depreciable investment costs | € | 9807253
Financing
Equity share | 27.27% | € | 2674437.8931
Debt capital share | 72.73% | € | 7132815.1069
KfW Program 270 Renewable Energies - “Standard” program section
Amount | € | 7132815.1069
Term | a | 14
Interest Bank |  | 3%
Refinancing |  | 2.5%
Repayment-free years | a | 3
Disbursement date |  | 2015-01-01
Operating costs
Maintenance (full maintenance contract) | €/a | 98072.53 |  |  | 0.01 | vom Investment
Lease costs | €/a | 6930 |  |  | 550 | €/MW
Annual financial statements, tax advice | €/a | 9900 |  |  | 1650 | €/WEA
insurance | €/a | 0 |  |  | 0 | €/WEA | Bauherren-, Betreiberhaftpflicht; Maschinen-, MBU-Versicherung
Operational management | €/a | 6000
Dismantling guarantee Reserves | €/a | 8000 |  |  |  | Ziel 600.000€ nach 20 Jahren 15MW x 40.000 €
Own consumption | €/a | 9900 |  |  | 1650 | €/WEA
Hamster
Yield loss farmer (0.4 ha)Wheat | €/a | 156.7724 |  | 0.4 | 4.026 | t/ha | Weizenpreis | 97.35 | €/t
Yield loss farmer (0.4 ha) Barley | €/a | 95.832 |  | 0.4 | 3.025 | t/ha | Gerstepreis | 79.2 | €/t
Hamster Observation | €/a | 2000
Miscellaneous | €/a | 1650 |  |  | 275 | €/WEA
Operating costs |  | 105000 | Euro
taxes
Trade tax
tax-free amount | € | 24500
Tax rate |  | 3.5%
Share of Nentzelsrode |  | 70%
Share of management in Gujarat |  | 30%
Rate of assessment Nentzelsrode |  | 357%
Rate of assessment of the management in Gujarat |  | 270%

## Grafiken
|  |  | Eigenkapital | 27.27%
|  |  | Fremdkapital | 72.73%
Spalte1 | Spalte2 | Spalte3
WEA, inkl. Trafo, Transport, Montage, Fundament | € | 24000000
Stellflächen | € | 500000
Wegebau | € | 140000
Verkabelung Intern und Extern | € | 526200
Übergabestion | € | 100000
Windgutachten | € | 120000
Schallgutachten | € | 15000
Bodengutachten | € | 20000
Notar und Rechtskosten | € | 50000
Projektierung | € | 300000
Baugenehmigung | € | 25000
Abnahmegutachten | € | 20000
Faunistisches Gutachten | € | 25000
Umsiedelung Hamster | € | 5000
Ausgleichsflächen Hamster | € | 2800
Sonstige Kosten( Ausgleichsmaßnahmen, Dienstbarkeiten usw.) | € | 929350
Gesamt | € | 26778350
Spalte1 | Spalte2 | Spalte3
Wartung (Vollwartungsvertrag) | €/a | 401675.25
Pachtkosten | €/a | 150000
Jahresabschluss, Steuerberatung | €/a | 15000
Versicherungen | €/a | 125000
Betriebsführung | €/a | 12000
Rückbaubürgschaft Rücklagen | €/a | 30000
Eigenverbrauch | €/a | 15000
Kosten Hamster | €/a | 2835.06
Sonstige | €/a | 25000
Betriebskosten | Euro | 776510.306
Spalte1 | Spalte2 | Spalte3
Investitionsvolumen | 26778350 | EUR
Jährlicher Energieertrag | 38168112.6 | kWh
Einspeisevergütung | 0.032 | EUR
Projektdauer | 20 | Jahre
NPV | 779461.9174 | EUR
IRR | 5.723%
Min. DSCR | 1.1004
ADSCR | 1.3204