## Parameters
Input - Parameter |  |  |  |  | Resultate
|  | Einheiten |  |  |  |  | Einheit
Case - Option | Base Case |  |  |  | NPV | -918505.8494 | EUR
[5 empty] | NPV costs | 3033902.1979 | EUR
Number of WT | 6 | Stück |  |  | NPV kWh | 371496868.8077 | EUR
Installed output (Per WT) | 2100 | kWp |  |  | IRR | 3.828%
Total output | 12600 | kWp |  |  | LEC | 0.018233 | EUR
Gross energy yield | 39026700 | kWh/a |  |  | Min. DSCR | 0.97388
Cable and transformer losses | 2.2% |  |  |  | ADSCR | 1.3173
Bat losses | 0%
Collateral (Damage) | 0%
Total losses | 2.2%
Net energy yield | 38168112.6 | kWh
Site quality | 71.04% |  |  |  | GuV
Term Initial tariff | 22 | a
Feed-in tariff (start) | 0.032 | EUR/kWh | 2.84 Rs/kwh | https://www.mercomindia.com/gujarat-tariff-wind-projects-2027 |  | Einheiten |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
[5 empty] | Income | EUR (nominal) |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032
[5 empty] | Operating costs | EUR (nominal) |  | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
[5 empty] | EBITDA | EUR (nominal) |  | 960960.5532 | 955261.826 | 949268.9875 | 1092966.8587 | 1086339.4769 | 1079370.056 | 1072040.9433 | 1064333.575 | 1056228.4295 | 1047704.9775 | 1038741.63 | 1029315.6842 | 1019403.2654 | 1008979.2666 | 998017.2852 | 986489.556 | 974366.8806 | 961618.554 | 948212.2863 | 934114.121
Investment |  |  |  |  | Depreciation and amortization | EUR (nominal) |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
Total investment costs |  | EUR |  |  | EBIT | EUR (nominal) |  | 260442.4818 | 254743.7546 | 248750.9161 | 392448.7872 | 385821.4055 | 378851.9846 | 371522.8719 | 363815.5036 | 355710.3581 | 347186.906 | 338223.5586 | 328797.6128 | 318885.1939 | 308461.1951 | 998017.2852 | 986489.556 | 974366.8806 | 961618.554 | 948212.2863 | 934114.121
| -9807253 |  |  |  | Net financial income | EUR (nominal) |  | -723991.9472 | -723991.9472 | -723991.9472 | -702698.0664 | -660110.3048 | -617522.5432 | -574934.7816 | -532347.02 | -489759.2584 | -447171.4968 | -404583.7352 | -361995.9736 | -319408.212 | -276820.4504 | -234232.6888 | -191644.9272 | -149057.1656 | -106469.404 | -63881.6424 | -21293.8808
Total operating costs | -105000 | EUR |  |  | EBT | EUR (nominal) |  | -463549.4654 | -469248.1926 | -475241.0311 | -310249.2792 | -274288.8993 | -238670.5586 | -203411.9098 | -168531.5164 | -134048.9003 | -99984.5908 | -66360.1766 | -33198.3608 | -523.0181 | 31640.7447 | 763784.5964 | 794844.6288 | 825309.715 | 855149.15 | 884330.6439 | 912820.2402
[5 empty] | Taxes | EUR (nominal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -100026.8808 | -265299.1932 | -273846.0721
[5 empty] | Profit after tax | EUR (nominal) |  | -463549.4654 | -469248.1926 | -475241.0311 | -310249.2792 | -274288.8993 | -238670.5586 | -203411.9098 | -168531.5164 | -134048.9003 | -99984.5908 | -66360.1766 | -33198.3608 | -523.0181 | 31640.7447 | 763784.5964 | 794844.6288 | 825309.715 | 755122.2692 | 619031.4507 | 638974.1682
Finanzierung (
Loan type | Constant Payment
Debt ratio | 72.73%
Equity | 2674327.4117 | EUR |  |  | Cash-Flow
Term | 17 | Jahre
Interest Bank | 10.15% | https://www.mercomindia.com/gujarat-tariff-wind-projects-2027 |  |  |  | Einheit |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Refinancing | 0%
Interest rate | 10.15% | India Inflation Rate 1960-2024 ¦ MacroTrends |  |  | Income | EUR (nominal) |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032
Debt capital | 7132925.5883 |  |  |  | Operating costs | EUR |  | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
Loss carry forward | Yes |  |  |  | Trade tax | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -100026.8808 | -265299.1932 | -273846.0721
Risk free rate | 1.15% |  |  |  | CFADS | EUR |  | 960960.5532 | 955261.826 | 949268.9875 | 1092966.8587 | 1086339.4769 | 1079370.056 | 1072040.9433 | 1064333.575 | 1056228.4295 | 1047704.9775 | 1038741.63 | 1029315.6842 | 1019403.2654 | 1008979.2666 | 998017.2852 | 986489.556 | 974366.8806 | 861591.6732 | 682913.0931 | 660268.049
Market risk premium | 5.15% |  |  |  | interest | EUR |  | -723991.9472 | -723991.9472 | -723991.9472 | -702698.0664 | -660110.3048 | -617522.5432 | -574934.7816 | -532347.02 | -489759.2584 | -447171.4968 | -404583.7352 | -361995.9736 | -319408.212 | -276820.4504 | -234232.6888 | -191644.9272 | -149057.1656 | -106469.404 | -63881.6424 | -21293.8808
beta | 0.3 |  |  |  | Repayment | EUR |  | 0 | 0 | 0 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581 | -419583.8581
Cost of equity | 2.695% |  |  |  | CFASH | EUR |  | 236968.606 | 231269.8788 | 225277.0403 | -29315.0659 | 6645.314 | 42263.6547 | 77522.3035 | 112402.6969 | 146885.313 | 180949.6225 | 214574.0367 | 247735.8525 | 280411.1952 | 312574.958 | 344200.7383 | 375260.7706 | 405725.8569 | 335538.4111 | 199447.5926 | 219390.31
WACC w/ tax | 8.117%
Other
Depreciation period | 14 | Jahre
Inflation | 5.161% | (Last 10 years averages)
Discount rate | 8.117%
Project duration | 25 | Jahre
Constant Payment
Annuity
Business tax
tax-free amount | 24500 | €
Tax base | 3.5%
Nentzelsrode share | 70%
Share of municipality of management | 30%
Municipality of location | 357% | IHK Erfurt
Municipality of the management | 470% | IHK Hamburg
Base case | 38168112.6
Base case without security | 38168112.6
Note on C42: Dennis Schneck: http://www.bloomberg.com/markets/rates-bonds/government-bonds/germany/
Note on C43: Dennis Schneck: http://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html

## Kalkulation
Kalkulation |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Einheit
Periode |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Jahr |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Inflation |  | 1 | 1.0516 | 1.1059 | 1.163 | 1.223 | 1.2861 | 1.3525 | 1.4223 | 1.4957 | 1.5729 | 1.654 | 1.7394 | 1.8292 | 1.9236 | 2.0229 | 2.1273 | 2.237 | 2.3525 | 2.4739 | 2.6016 | 2.7359
Erträge
Energie | kWh |  | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6 | 38168112.6
Einspeisevergütung (Fix für 20 Jahre) | EUR/kWh |  | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032 | 0.032
Total | EUR |  | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 1221379.6032 | 24427592.064
Ausgaben
Investment | EUR | 0 2015: -9807253
Betriebskosten | EUR (nominal) |  | -110419.05 | -116117.7772 | -122110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
Ausschüttung REC | EUR | 1 2016: -150000; 2 2017: -150000; 3 2018: -150000
Total | EUR (nominal) | -9807253 | -260419.05 | -266117.7772 | -272110.6157 | -128412.7445 | -135040.1263 | -142009.5472 | -149338.6599 | -157046.0282 | -165151.1737 | -173674.6257 | -182637.9732 | -192063.919 | -201976.3378 | -212400.3366 | -223362.318 | -234890.0472 | -247012.7226 | -259761.0492 | -273167.3169 | -287265.4822
EBITDA | EUR | -9807253 | 960960.5532 | 955261.826 | 949268.9875 | 1092966.8587 | 1086339.4769 | 1079370.056 | 1072040.9433 | 1064333.575 | 1056228.4295 | 1047704.9775 | 1038741.63 | 1029315.6842 | 1019403.2654 | 1008979.2666 | 998017.2852 | 986489.556 | 974366.8806 | 961618.554 | 948212.2863 | 934114.121
Abschreibung | EUR | 0 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | EUR | -9807253 | 260442.4818 | 254743.7546 | 248750.9161 | 392448.7872 | 385821.4055 | 378851.9846 | 371522.8719 | 363815.5036 | 355710.3581 | 347186.906 | 338223.5586 | 328797.6128 | 318885.1939 | 308461.1951 | 998017.2852 | 986489.556 | 974366.8806 | 961618.554 | 948212.2863 | 934114.121
Steuer | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100026.8808 | 265299.1932 | 273846.0721
CFADS | EUR | -9807253 | 960960.5532 | 955261.826 | 949268.9875 | 1092966.8587 | 1086339.4769 | 1079370.056 | 1072040.9433 | 1064333.575 | 1056228.4295 | 1047704.9775 | 1038741.63 | 1029315.6842 | 1019403.2654 | 1008979.2666 | 998017.2852 | 986489.556 | 974366.8806 | 861591.6732 | 682913.0931 | 660268.049
Income Statement
EBITAD | EUR |  | 960960.5532 | 955261.826 | 949268.9875 | 1092966.8587 | 1086339.4769 | 1079370.056 | 1072040.9433 | 1064333.575 | 1056228.4295 | 1047704.9775 | 1038741.63 | 1029315.6842 | 1019403.2654 | 1008979.2666 | 998017.2852 | 986489.556 | 974366.8806 | 961618.554 | 948212.2863 | 934114.121
Zinsen | EUR |  | -723991.9472 | -723991.9472 | -723991.9472 | -702698.0664 | -660110.3048 | -617522.5432 | -574934.7816 | -532347.02 | -489759.2584 | -447171.4968 | -404583.7352 | -361995.9736 | -319408.212 | -276820.4504 | -234232.6888 | -191644.9272 | -149057.1656 | -106469.404 | -63881.6424 | -21293.8808
Abschreibung | EUR |  | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | -700518.0714 | 0 | 0 | 0 | 0 | 0 | 0
PBT | EUR |  | -463549.4654 | -469248.1926 | -475241.0311 | -310249.2792 | -274288.8993 | -238670.5586 | -203411.9098 | -168531.5164 | -134048.9003 | -99984.5908 | -66360.1766 | -33198.3608 | -523.0181 | 31640.7447 | 763784.5964 | 794844.6288 | 825309.715 | 855149.15 | 884330.6439 | 912820.2402
loss carry forward | EUR |  | 0 | -463549.4654 | -932797.6581 | -1408038.6891 | -1718287.9683 | -1992576.8676 | -2231247.4262 | -2434659.336 | -2603190.8524 | -2737239.7527 | -2837224.3435 | -2903584.5201 | -2936782.8809 | -2937305.8989 | -2905665.1542 | -2141880.5578 | -1347035.929 | -521726.214 | 0 | 0
taxable income | EUR |  | -463549.4654 | -932797.6581 | -1408038.6891 | -1718287.9683 | -1992576.8676 | -2231247.4262 | -2434659.336 | -2603190.8524 | -2737239.7527 | -2837224.3435 | -2903584.5201 | -2936782.8809 | -2937305.8989 | -2905665.1542 | -2141880.5578 | -1347035.929 | -521726.214 | 333422.936 | 884330.6439 | 912820.2402
Steuern
Versteuerbares Einkommen nach Freibetrag | EUR
Anteil Nentzelsrode (70 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Nentzelsrode | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | [5 empty] | 0
Anteil Hamburg (30 %) | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Grundbeitrag | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Hebesatz | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Hamburg | EUR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Gewerbesteuer Gesamt | EUR | 11 2026: 0; 12 2027: 0; 13 2028: 0; 14 2029: 0; 15 2030: 0; 16 2031: 0; 17 2032: 0; 18 2033: 100026.8808; 19 2034: 265299.1932; 20 2035: 273846.0721
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  | 0 | 0 | 0 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 702698.0664 | 660110.3048 | 617522.5432 | 574934.7816 | 532347.02 | 489759.2584 | 447171.4968 | 404583.7352 | 361995.9736 | 319408.212 | 276820.4504 | 234232.6888 | 191644.9272 | 149057.1656 | 106469.404 | 63881.6424 | 21293.8808
Debt Service | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 1122281.9245 | 1079694.1629 | 1037106.4013 | 994518.6397 | 951930.8781 | 909343.1165 | 866755.3549 | 824167.5933 | 781579.8317 | 738992.0701 | 696404.3085 | 653816.5469 | 611228.7853 | 568641.0237 | 526053.2621 | 483465.5005 | 440877.7389
Constant Payment
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6713341.7302 | 6293757.872 | 5874174.0139 | 5454590.1558 | 5035006.2976 | 4615422.4395 | 4195838.5813 | 3776254.7232 | 3356670.8651 | 2937087.0069 | 2517503.1488 | 2097919.2907 | 1678335.4325 | 1258751.5744 | 839167.7163 | 419583.8581
Repayment | EUR |  |  |  |  | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581 | 419583.8581
Interest | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 702698.0664 | 660110.3048 | 617522.5432 | 574934.7816 | 532347.02 | 489759.2584 | 447171.4968 | 404583.7352 | 361995.9736 | 319408.212 | 276820.4504 | 234232.6888 | 191644.9272 | 149057.1656 | 106469.404 | 63881.6424 | 21293.8808
Debt Service | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 1122281.9245 | 1079694.1629 | 1037106.4013 | 994518.6397 | 951930.8781 | 909343.1165 | 866755.3549 | 824167.5933 | 781579.8317 | 738992.0701 | 696404.3085 | 653816.5469 | 611228.7853 | 568641.0237 | 526053.2621 | 483465.5005 | 440877.7389 | 881361.3022
Annuity
Opening Balance | EUR |  | 7132925.5883 | 7132925.5883 | 7132925.5883 | 7132925.5883 | 6959428.2843 | 6768321.0039 | 6557816.3345 | 6325945.4412 | 6070539.6523 | 5789210.1757 | 5479325.7573 | 5137988.0705 | 4762004.6084 | 4347858.8249 | 3891677.2444 | 3389193.2334 | 2835707.0954 | 2226042.1143 | 1554496.1377 | 814788.2444
Repayment | EUR |  |  |  |  | 173497.304 | 191107.2804 | 210504.6693 | 231870.8933 | 255405.789 | 281329.4765 | 309884.4184 | 341337.6869 | 375983.4621 | 414145.7835 | 456181.5805 | 502484.0109 | 553486.138 | 609664.9811 | 671545.9766 | 739707.8933 | 814788.2444
Interest | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 723991.9472 | 706381.9709 | 686984.5819 | 665618.358 | 642083.4623 | 616159.7747 | 587604.8328 | 556151.5644 | 521505.7892 | 483343.4678 | 441307.6707 | 395005.2403 | 344003.1132 | 287824.2702 | 225943.2746 | 157781.358 | 82701.0068
Debt service | EUR |  | 723991.9472 | 723991.9472 | 723991.9472 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 897489.2512 | 1156316.8861
Cash Flow after debt service | EUR | -2674327.4117 | 236968.606 | 231269.8788 | 225277.0403 | -29315.0659 | 6645.314 | 42263.6547 | 77522.3035 | 112402.6969 | 146885.313 | 180949.6225 | 214574.0367 | 247735.8525 | 280411.1952 | 312574.958 | 344200.7383 | 375260.7706 | 405725.8569 | 335538.4111 | 199447.5926 | 219390.31
Cash Flow Genossenschaft |  |  | 236968.606 | 231269.8788 | 225277.0403 | -29315.0659 | 6645.314 | 42263.6547 | 77522.3035 | 112402.6969 | 146885.313 | 180949.6225 | 214574.0367 | 247735.8525 | 280411.1952 | 312574.958 | 344200.7383 | 375260.7706 | 405725.8569 | 335538.4111 | 199447.5926 | 219390.31
DSCR |  |  | 1.3273 | 1.3194 | 1.3112 | 0.97388 | 1.0062 | 1.0408 | 1.0779 | 1.1181 | 1.1615 | 1.2088 | 1.2604 | 1.317 | 1.3795 | 1.4488 | 1.5264 | 1.6139 | 1.7135 | 1.6378 | 1.4125 | 1.4976
ADSCR |  | 0 2015: 1.3173
Betriebskosten für Grafik |  |  | 260419.05 | 266117.7772 | 272110.6157 | 128412.7445 | 135040.1263 | 142009.5472 | 149338.6599 | 157046.0282 | 165151.1737 | 173674.6257 | 182637.9732 | 192063.919 | 201976.3378 | 212400.3366 | 223362.318 | 234890.0472 | 247012.7226 | 259761.0492 | 273167.3169 | 287265.4822

## Daten
Input
Project / Plant
Nentzelsrode project
Type of company Operator | GmbH
Type of plant | Suzlon S97 2100KW |  |  |  | Gross energy yield | kWh/a | 39924500
Number of plants (WT) |  | 6
Installed capacity | MW | 2.1 |  |  | Discount for line & transformer losses |  | 2.2%
Commissioning |  | 2025-01-01 |  |  | Safety discount |  | 0%
Price per plant | € | 1166666 | Ref. PDF
Reference yield per WT | kWh | 6598300 |  |  | Net energy yield | kWh/a | 39046161
Remuneration
Reference energy yield | kWh | 39589800
Energy yield | kWh/a | 39046161
Energy yield | kWh/5a | 195230805
Site quality |  | 493.1%
Term Initial remuneration | a | -71.252
Degression |  | 1.5% |  |  | Einnahmen Grundvergütung | €/a | 1764886.4772
SDL bonus | €cent/kWh | 0 |  |  | Einnahmen Anfangsvergütung | €/a | 3233022.1308
Repowering bonus | €cent/kWh | 0
Initial remuneration | €cent/kWh | 8.28
Initial tariff incl. bonuses | €cent/kWh | 8.28
Basic remuneration | €cent/kWh | 4.52
investment
Berechnung
WTG, incl. transformer, transportation, assembly, foundation | € | 6999996
|  |  |  | Anzahl | Einzelpreis
Foundation | € | 231000 |  | 6 | 38500 | € /WEA
Road construction | € | 0 |  | 0 | 26950 | €/km
Easement for road construction | € | 0 |  | 0 | 2888 | €/Flurstück
Internal and external cabling | € | 139974 |  | 6 | 23329 | €/km | 200 Rs
Cabling land use | € | 798 |  | 7 | 114 | €/Flurstück
Cabling land use | € | 1960000 |  | 20000 | 98 | €/Meter
Rotor painting | € | 750 |  | 1 | 750 | €/Stck.
Transfer station | € | 28500 |  | 1 | 28500 | €/Stck.
Grid connection | € | 770 |  | 1 | 770 | € /Anschluß
Wind expertise | € | 16200 |  | 1 | 16200 | €/Stck.
Noise survey | € | 5775 |  | 1 | 5775 | €/Stck.
Soil expertise | € | 7700 |  | 1 | 7700 | €/Stck.
Faunistic expertise | € | 7625 |  | 1 | 7625 | €/Stck.
Hamster relocation | € | 1926 |  | 2 | 963 | €/Stck.
Hamster compensation areas | € | 1078 |  | 2 | 539 | €/Stck.
Acceptance report | € | 7700 |  | 1 | 7700 | €/Stck.
Notary and legal costs | € | 15250 |  | 1 | 15250 | €/Stck.
SDL expert opinion | € | 3850 |  | 1 | 3850 | €/Stck.
Project planning | € | 50000
Building permit | € | 11111 |  | 1 | 11111 | €/Stck.
Compensatory measures | € | 47750 |  | 5 | 9550 | €/WEA
Other costs | € | 38500
Pre-financing
Bank structuring fee | € | 115500
Guarantee commission | €
Reserve | € | 115500
Total purchase price | € | 9807253 | GERC Updates Regulations for Small Wind Projects - Asia Pacific ¦ Energetica India Magazine
Specific purchase price | €/kWh | 0.25117
Depreciable investment costs | € | 9807253
Financing
Equity share | 27.27% | € | 2674437.8931
Debt capital share | 72.73% | € | 7132815.1069
KfW Program 270 Renewable Energies - “Standard” program section
Amount | € | 7132815.1069
Term | a | 14
Interest Bank |  | 3%
Refinancing |  | 2.5%
Repayment-free years | a | 3
Disbursement date |  | 2015-01-01
Operating costs
Maintenance (full maintenance contract) | €/a | 98072.53 |  |  | 0.01 | vom Investment
Lease costs | €/a | 6930 |  |  | 550 | €/MW
Annual financial statements, tax advice | €/a | 9900 |  |  | 1650 | €/WEA
insurance | €/a | 0 |  |  | 0 | €/WEA | Bauherren-, Betreiberhaftpflicht; Maschinen-, MBU-Versicherung
Operational management | €/a | 6000
Dismantling guarantee Reserves | €/a | 8000 |  |  |  | Ziel 600.000€ nach 20 Jahren 15MW x 40.000 €
Own consumption | €/a | 9900 |  |  | 1650 | €/WEA
Hamster
Yield loss farmer (0.4 ha)Wheat | €/a | 156.7724 |  | 0.4 | 4.026 | t/ha | Weizenpreis | 97.35 | €/t
Yield loss farmer (0.4 ha) Barley | €/a | 95.832 |  | 0.4 | 3.025 | t/ha | Gerstepreis | 79.2 | €/t
Hamster Observation | €/a | 2000
Miscellaneous | €/a | 1650 |  |  | 275 | €/WEA
Operating costs |  | 105000 | Euro
taxes
Trade tax
tax-free amount | € | 24500
Tax rate |  | 3.5%
Share of Nentzelsrode |  | 70%
Share of management in Gujarat |  | 30%
Rate of assessment Nentzelsrode |  | 357%
Rate of assessment of the management in Gujarat |  | 270%

## Grafiken
|  |  | Eigenkapital | 27.27%
|  |  | Fremdkapital | 72.73%
Spalte1 | Spalte2 | Spalte3
WEA, inkl. Trafo, Transport, Montage, Fundament | € | 24000000
Stellflächen | € | 500000
Wegebau | € | 140000
Verkabelung Intern und Extern | € | 526200
Übergabestion | € | 100000
Windgutachten | € | 120000
Schallgutachten | € | 15000
Bodengutachten | € | 20000
Notar und Rechtskosten | € | 50000
Projektierung | € | 300000
Baugenehmigung | € | 25000
Abnahmegutachten | € | 20000
Faunistisches Gutachten | € | 25000
Umsiedelung Hamster | € | 5000
Ausgleichsflächen Hamster | € | 2800
Sonstige Kosten( Ausgleichsmaßnahmen, Dienstbarkeiten usw.) | € | 929350
Gesamt | € | 26778350
Spalte1 | Spalte2 | Spalte3
Wartung (Vollwartungsvertrag) | €/a | 401675.25
Pachtkosten | €/a | 150000
Jahresabschluss, Steuerberatung | €/a | 15000
Versicherungen | €/a | 125000
Betriebsführung | €/a | 12000
Rückbaubürgschaft Rücklagen | €/a | 30000
Eigenverbrauch | €/a | 15000
Kosten Hamster | €/a | 2835.06
Sonstige | €/a | 25000
Betriebskosten | Euro | 776510.306
Spalte1 | Spalte2 | Spalte3
Investitionsvolumen | 26778350 | EUR
Jährlicher Energieertrag | 38168112.6 | kWh
Einspeisevergütung | 0.032 | EUR
Projektdauer | 20 | Jahre
NPV | 779461.9174 | EUR
IRR | 5.723%
Min. DSCR | 1.1004
ADSCR | 1.3204